## 14_Bus
Flow Limit: 73.3MW
Bus# | Real LMP(Matlab) | Real LMP(Powerworld) | Real LMP (Tuning Mode: 2) | Real LMP (Mixed Tuning) | Real LMP (Tuning mode: 1) | Reactive LMP(Matlab) | Reactive LMP(Powerworld) | Gen# (Tuning Mode: 1) | Conn. | MW | Generation(Matlab) | Generation(Powerworld) | Gen_Cost(Tuning Mode: 1)
1 | 37.581 | 28.58 |  | -31.188 |  | 6.935 | Slack Bus |  |  |  | 2.043 | 132.4
2 | 69.452 | 83 |  | -84.4978 |  | 0 | PV Bus |  |  |  | 0.989 | 136.2 | Gen_Cost(Tuning Mode: 2)
3 | 1215.687 | 6240.4 |  | -78.6781 |  | -66.218 | PV Bus | Gen# (Tuning Mode:2) | Conn. | MW | 0 | 0
4 | 427.26 | 1977.52 |  | -73.6503 |  | 25.337 | 197.04 |  |  |  | 0 | 0 | Gen_Cost(Mixed Tuning)
5 | 321.634 | 1409.56 |  | -70.0276 |  | 29.248 | 172.05 |  |  |  | 0 | 0 | 10067.2
6 | 357.333 | 1586.59 |  | -71.2595 |  | 20.074 | PV Bus | Gen# (Mixed Tuning) | Conn. | MW | 0 | 0 | Gen_Cost(Matlab)
7 | 411.843 | 1902.69 |  | -73.0008 |  | 10.423 | 67.85 | 1 | 1 | 130.004 | 0 | 0 | Primal: 10305.336
8 | 411.843 | 1902.69 |  | -73.0008 |  | 0 | PV Bus | 2 | 2 | 128.996 | 0 | 0 | Dual: 11086.00826845
9 | 403.653 | 1859.79 |  | -72.6591 |  | 10.173 | 48 |  |  |  | 0 | 0 | Gen_Cost(Powerworld)
10 | 397.916 | 1822.78 |  | -72.4104 |  | 13.211 | 44.15 |  |  |  | 0 | 0 | 10788.21 $/h
11 | 379.257 | 1712.48 |  | -71.845 |  | 17.421 | 23.99 |  |  |  | 0 | 0
12 | 366.773 | 1629.72 |  | -71.3701 |  | 23.526 | 14.89 |  |  |  | 0 | 0
13 | 371.732 | 1657.77 |  | -71.4565 |  | 23.169 | 19.23 |  |  |  | 0 | 0
14 | 398.601 | 1810.03 |  | -72.1333 |  | 18.767 | 47.76 |  |  |  | 0 | 0
Tuning mode: 1 |  |  |  |  | Tuning mode: 2 |  |  |  |  | Mixed Tuning:
T.line# | From | To | From MW | To MW | T.line# | From | To | From MW | To MW | T.line# | From | To | From MW | To MW | From_Bus | To_bus | Line Flow(Matlab) | Line Flow(Powerworld) | Lagrange Mult(Matlab) | Lagrange(Powerworld)
[10 empty] | 1 | 1 | 2 | -73.3 | 73.3 | 1 | 2 | 1.292 | 73.3 | 12770.999
[10 empty] | 2 | 1 | 5 | -56.7045 | 56.7045 | 1 | 5 | 0.751 | 59.1 | 0
[10 empty] | 3 | 2 | 3 | -72.4837 | 72.4837 | 2 | 1 | -1.257 | -17.4 | 0
[10 empty] | 4 | 2 | 4 | -60.319 | 60.319 | 2 | 3 | 0.908 | -5.4 | 187415.854
[10 empty] | 5 | 2 | 5 | -47.7928 | 47.7928 | 2 | 4 | 0.682 | -9.5 | 0
[10 empty] | 6 | 3 | 4 | 21.7163 | -21.7163 | 2 | 5 | 0.448 | -72.4 | 0
[10 empty] | 7 | 4 | 5 | 55.2183 | -55.2183 | 3 | 2 | -0.863 | 75.9 | 0 | 9999
[10 empty] | 8 | 4 | 7 | -29.2422 | 29.2422 | 3 | 4 | -0.393 | 61.8 | 0
[10 empty] | 9 | 4 | 9 | -16.7789 | 16.7789 | 4 | 2 | -0.645 | 49.2 | 0
[10 empty] | 10 | 5 | 6 | -41.679 | 41.679 | 4 | 3 | 0.413 | -73.4 | 0
[10 empty] | 11 | 6 | 11 | -6.0611 | 6.0611 | 4 | 5 | -1.034 | -20.8 | 0
[10 empty] | 12 | 6 | 12 | -7.5094 | 7.5094 | 4 | 7 | 0.259 | -59.8 | 0
[10 empty] | 13 | 6 | 13 | -16.9085 | 16.9085 | 4 | 9 | 0.137 | -3.5 | 0
[10 empty] | 14 | 7 | 8 | 0 | 0 | 5 | 1 | -0.72 | 21.1 | 0
[10 empty] | 15 | 7 | 9 | -29.2422 | 29.2422 | 5 | 2 | -0.429 | -53.7 | 0
[10 empty] | 16 | 9 | 10 | -6.4389 | 6.4389 | 5 | 4 | 1.049 | 28.4 | 0
[10 empty] | 17 | 9 | 14 | -10.0821 | 10.0821 | 5 | 6 | 0.426 | 16.3 | 0
[10 empty] | 18 | 10 | 11 | 2.5611 | -2.5611 | 6 | 5 | -0.426 | -57.4 | 0
[10 empty] | 19 | 12 | 13 | -1.4094 | 1.4094 | 6 | 11 | 0.084 | -47.9 | 0
[10 empty] | 20 | 13 | 14 | -4.8179 | 4.8179 | 6 | 12 | 0.071 | 54.1 | 0
[15 empty] | 6 | 13 | 0.171 | 43.6 | 0
[15 empty] | 7 | 4 | -0.259 | 7.1 | 0
[15 empty] | 7 | 8 | 0 | 7.7 | 0
[15 empty] | 7 | 9 | 0.209 | -5.5 | 0
[15 empty] | 8 | 7 | 0 | 17.6 | 0
[15 empty] | 9 | 4 | -0.137 | -43.6 | 0
[15 empty] | 9 | 7 | -0.209 | -28.4 | 0
[15 empty] | 9 | 10 | 0.041 | 0 | 0
[15 empty] | 9 | 14 | 0.085 | 28.4 | 0
[15 empty] | 10 | 9 | -0.04 | 0 | 0
[15 empty] | 10 | 11 | -0.049 | 5.5 | 0
[15 empty] | 11 | 6 | -0.084 | 9.6 | 0
[15 empty] | 11 | 10 | 0.049 | -16.3 | 0
[15 empty] | 12 | 6 | -0.07 | -28.4 | 0
[15 empty] | 12 | 13 | 0.02 | 3.5 | 0
[11 empty] | Binding |  |  |  | 13 | 6 | -0.169 | 73.3 | 0 | 391.82
[15 empty] | 13 | 12 | -0.02 | -72.4 | 0
[15 empty] | 13 | 14 | 0.065 | -7 | 0
[15 empty] | 14 | 9 | -0.084 | 1.6 | 0
[15 empty] | 14 | 13 | -0.065 | -7.7 | 0
-1.6
5.5
Flow Limit: 73.5MW
Bus# | Real LMP(Matlab) | Real LMP(Powerworld) | Real LMP (Tuning Mode: 2) | Real LMP (Mixed Tuning) | Real LMP (Tuning mode: 1) | Reactive LMP(Matlab) | Reactive LMP(Powerworld) | Gen# (Tuning Mode: 1) | Conn. | MW | Generation(Matlab) | Generation(Powerworld) | Gen_Cost(Tuning Mode: 1)
1 | 30.4964 | 28.58 |  | -31.2085 |  | 6.0401 | Slack Bus |  |  |  | 1.2197 | 132.7
2 | 98.8788 | 83 |  | -84.3784 |  | 6.5828e-08 | PV Bus |  |  |  | 1.5776 | 136 | Gen_Cost(Tuning Mode: 2)
3 | 1137.0411 | 6240.39 |  | -78.574 |  | -63.9854 | PV Bus | Gen# (Tuning Mode:2) | Conn. | MW | 0 | 0
4 | 402.97 | 1977.52 |  | -73.5595 |  | 22.4312 | 197.05 |  |  |  | 0 | 0 | Gen_Cost(Mixed Tuning)
5 | 304.2583 | 1409.56 |  | -69.9462 |  | 26.3172 | 172.07 |  |  |  | 0 | 0 | 10054.5
6 | 337.51 | 1586.58 |  | -71.1749 |  | 18.1228 | PV Bus | Gen# (Mixed Tuning) | Conn. | MW | 0 | 0 | Gen_Cost(Matlab)
7 | 388.4261 | 1902.69 |  | -72.9116 |  | 9.0992 | 67.86 | 1 | 1 | 130.243 | 0 | 0 | 12456.4908
8 | 388.4261 | 1902.69 |  | -72.9116 |  | 7.0395e-08 | PV Bus | 2 | 2 | 128.757 | 0 | 0 | 10698.7829
9 | 380.7175 | 1859.79 |  | -72.5708 |  | 8.7718 | 48 |  |  |  | 0 | 0 | Gen_Cost(Powerworld)
10 | 375.3776 | 1822.78 |  | -72.3228 |  | 11.6309 | 44.16 |  |  |  | 0 | 0 | 10775.63 $/h
11 | 357.9743 | 1712.47 |  | -71.7589 |  | 15.6067 | 24 |  |  |  | 0 | 0
12 | 346.3654 | 1629.71 |  | -71.2852 |  | 21.3649 | 14.89 |  |  |  | 0 | 0
13 | 350.9995 | 1657.76 |  | -71.3714 |  | 21.029 | 19.24 |  |  |  | 0 | 0
14 | 376.0857 | 1810.02 |  | -72.0464 |  | 16.863 | 47.76 |  |  |  | 0 | 0
Tuning mode: 1 |  |  |  |  | Tuning mode: 2 |  |  |  |  | Mixed Tuning:
T.line# | From | To | From MW | To MW | T.line# | From | To | From MW | To MW | T.line# | From | To | From MW | To MW | From_Bus | To_bus | Line Flow(Matlab) | Line Flow(Powerworld) | Lagrange Mult(Matlab) | Lagrange(Powerworld)
[10 empty] | 1 | 1 | 2 | -73.5 | 73.5 | 1 | 2 | 0.60563 | 73.5 | 12218.4353
[10 empty] | 2 | 1 | 5 | -56.7432 | 56.7432 | 1 | 5 | 0.61453 | 59.2 | 2.0063e-05
[10 empty] | 3 | 2 | 3 | -72.4772 | 72.4772 | 2 | 1 | -0.59898 | -17.4 | 1.7302e-06
[10 empty] | 4 | 2 | 4 | -60.3054 | 60.3054 | 2 | 3 | 0.72573 | -5.4 | 175064.3366
[10 empty] | 5 | 2 | 5 | -47.7743 | 47.7743 | 2 | 4 | 0.67417 | -9.5 | 2.2423e-05
[10 empty] | 6 | 3 | 4 | 21.7228 | -21.7228 | 2 | 5 | 0.56968 | -72.6 | 1.0758e-05
[10 empty] | 7 | 4 | 5 | 55.2374 | -55.2374 | 3 | 2 | -0.6993 | 75.9 | 1.7433e-06 | 9999
[10 empty] | 8 | 4 | 7 | -29.2415 | 29.2415 | 3 | 4 | -0.15562 | 61.8 | 2.6147e-06
[10 empty] | 9 | 4 | 9 | -16.7785 | 16.7785 | 4 | 2 | -0.64882 | 49.1 | 1.894e-06
[10 empty] | 10 | 5 | 6 | -41.68 | 41.68 | 4 | 3 | 0.15818 | -73.4 | 5.1135e-06
[10 empty] | 11 | 6 | 11 | -6.0617 | 6.0617 | 4 | 5 | -0.45653 | -20.8 | 1.9415e-06
[10 empty] | 12 | 6 | 12 | -7.5095 | 7.5095 | 4 | 7 | 0.28558 | -59.8 | 5.492e-06
[10 empty] | 13 | 6 | 13 | -16.9088 | 16.9088 | 4 | 9 | 0.16527 | -3.5 | 4.3685e-06
[10 empty] | 14 | 7 | 8 | 0 | 0 | 5 | 1 | -0.59484 | 21.1 | 1.902e-06
[10 empty] | 15 | 7 | 9 | -29.2415 | 29.2415 | 5 | 2 | -0.55195 | -53.7 | 2.0736e-06
[10 empty] | 16 | 9 | 10 | -6.4383 | 6.4383 | 5 | 4 | 0.45941 | 28.4 | 1.5144e-05
[10 empty] | 17 | 9 | 14 | -10.0817 | 10.0817 | 5 | 6 | 0.38792 | 16.3 | 7.342e-06
[10 empty] | 18 | 10 | 11 | 2.5617 | -2.5617 | 6 | 5 | -0.38792 | -57.4 | 2.2368e-06
[10 empty] | 19 | 12 | 13 | -1.4095 | 1.4095 | 6 | 11 | 0.078308 | -47.9 | 3.8514e-06
[10 empty] | 20 | 13 | 14 | -4.8183 | 4.8183 | 6 | 12 | 0.070019 | 54.1 | 3.8001e-06
[15 empty] | 6 | 13 | 0.16837 | 43.6 | 4.4653e-06
[15 empty] | 7 | 4 | -0.28558 | 7.1 | 2.4961e-06
[15 empty] | 7 | 8 | -2.4209e-06 | 7.7 | 3.4355e-06
[15 empty] | 7 | 9 | 0.30569 | -5.5 | 5.5672e-06
[15 empty] | 8 | 7 | 2.4209e-06 | 17.6 | 3.4355e-06
[15 empty] | 9 | 4 | -0.16527 | -43.6 | 2.8294e-06
[15 empty] | 9 | 7 | -0.30569 | -28.4 | 2.4807e-06
[15 empty] | 9 | 10 | 0.048032 | 0 | 3.6717e-06
[15 empty] | 9 | 14 | 0.089381 | 28.4 | 3.9115e-06
[15 empty] | 10 | 9 | -0.047886 | 0 | 3.2282e-06
[15 empty] | 10 | 11 | -0.042333 | 5.5 | 3.2436e-06
[15 empty] | 11 | 6 | -0.077674 | 9.6 | 3.1026e-06
[15 empty] | 11 | 10 | 0.042471 | -16.3 | 3.6521e-06
[15 empty] | 12 | 6 | -0.069412 | -28.4 | 3.1367e-06
[15 empty] | 12 | 13 | 0.019559 | 3.5 | 3.53e-06
[15 empty] | 13 | 6 | -0.16635 | 73.5 | 2.7963e-06 | 391.78
[15 empty] | 13 | 12 | -0.019468 | -72.6 | 3.3462e-06
[15 empty] | 13 | 14 | 0.061511 | -7 | 3.7539e-06
[15 empty] | 14 | 9 | -0.088259 | 1.6 | 3.0664e-06
[15 empty] | 14 | 13 | -0.060888 | -7.7 | 3.1691e-06
-1.6
5.5
Flow Limit: 85MW
Bus# | Real LMP(Matlab) | Real LMP(Powerworld) | Real LMP (Tuning Mode: 2) | Real LMP (Mixed Tuning) | Real LMP (Tuning mode: 1) | Reactive LMP(Matlab) | Reactive LMP(Powerworld) | Gen# (Tuning Mode: 1) | Conn. | MW | Generation(Matlab) | Generation(Powerworld) | Gen_Cost(Tuning Mode: 1)
1 | 32.52 | 34.3 |  | -32.1428 |  | 0 | Slack Bus |  |  |  | 1.455 | 146.4
2 | 79.179 | 83 |  | -80.7708 |  | 0 | PV Bus |  |  |  | 1.184 | 122.5 | Gen_Cost(Tuning Mode: 2)
3 | 80.117 | 84.14 |  | -75.4622 |  | 0 | PV Bus | Gen# (Tuning Mode:2) | Conn. | MW | 0 | 0
4 | 73.979 | 77.74 |  | -70.876 |  | 0.735 | 0.75 |  |  |  | 0 | 0 | Gen_Cost(Mixed Tuning)
5 | 69.713 | 73.31 |  | -67.5713 |  | 1.366 | 1.39 |  |  |  | 0 | 0 | 9802.58
6 | 70.725 | 74.46 |  | -68.695 |  | 0 | PV Bus | Gen# (Mixed Tuning) | Conn. | MW | 0 | 0 | Gen_Cost(Matlab)
7 | 73.529 | 77.23 |  | -70.2834 |  | 0.054 | 0.29 | 1 | 1 | 141.098 | 0 | 0 | 9689.664
8 | 73.529 | 77.23 |  | -70.2834 |  | 0 | PV Bus | 2 | 2 | 121.542 | 0 | 0 | 9670.3071
9 | 73.27 | 76.96 |  | -69.9717 |  | -0.242 | 0.26 |  |  |  | 0 | 0 | Gen_Cost(Powerworld)
10 | 73.24 | 76.95 |  | -69.7448 |  | 0.045 | 0.48 |  |  |  | 0 | 0 | 10130.42 $/h
11 | 72.245 | 75.97 |  | -69.229 |  | 0.188 | 0.36 |  |  |  | 0 | 0
12 | 71.983 | 75.76 |  | -68.7958 |  | 0.678 | 0.41 |  |  |  | 0 | 0
13 | 72.486 | 76.26 |  | -68.8747 |  | 0.788 | 0.63 |  |  |  | 0 | 0
14 | 74.439 | 78.24 |  | -69.492 |  | 0.722 | 0.98 |  |  |  | 0 | 0
Tuning mode: 1 |  |  |  |  | Tuning mode: 2 |  |  |  |  | Mixed Tuning:
T.line# | From | To | From MW | To MW | T.line# | From | To | From MW | To MW | T.line# | From | To | From MW | To MW | From_Bus | To_bus | Line Flow(Matlab) | Line Flow(Powerworld) | Lagrange Mult(Matlab) | Lagrange(Powerworld)
[10 empty] | 1 | 1 | 2 | -85 | 85 | 1 | 2 | 0.851 | 85 | 5319.455 | 55.62
[10 empty] | 2 | 1 | 5 | -56.1187 | 56.1187 | 1 | 5 | 0.604 | 61.4 | 0.004
[10 empty] | 3 | 2 | 3 | -73.4669 | 73.4669 | 2 | 1 | -0.839 | -17.4 | 0.001
[10 empty] | 4 | 2 | 4 | -62.1955 | 62.1955 | 2 | 3 | 0.747 | -5.4 | 0.01
[10 empty] | 5 | 2 | 5 | -48.6213 | 48.6213 | 2 | 4 | 0.6 | -9.5 | 0.004
[10 empty] | 6 | 3 | 4 | 20.9797 | -20.9797 | 2 | 5 | 0.469 | -83.8 | 0.003
[10 empty] | 7 | 4 | 5 | 53.9225 | -53.9225 | 3 | 2 | -0.723 | 75.6 | 0.001
[10 empty] | 8 | 4 | 7 | -29.8569 | 29.8569 | 3 | 4 | -0.21 | 61 | 0.001
[10 empty] | 9 | 4 | 9 | -17.0451 | 17.0451 | 4 | 2 | -0.581 | 48.1 | 0.001
[10 empty] | 10 | 5 | 6 | -42.888 | 42.888 | 4 | 3 | 0.213 | -73.1 | 0.002
[10 empty] | 11 | 6 | 11 | -6.3323 | 6.3323 | 4 | 5 | -0.553 | -21.1 | 0.001
[10 empty] | 12 | 6 | 12 | -7.7162 | 7.7162 | 4 | 7 | 0.283 | -59 | 0.002
[10 empty] | 13 | 6 | 13 | -17.2983 | 17.2983 | 4 | 9 | 0.159 | -3.5 | 0.001
[10 empty] | 14 | 7 | 8 | -0.071505 | 0.071505 | 5 | 1 | -0.586 | 21.4 | 0.001
[10 empty] | 15 | 7 | 9 | -29.5709 | 29.5709 | 5 | 2 | -0.457 | -54.8 | 0.001
[10 empty] | 16 | 9 | 10 | -6.5869 | 6.5869 | 5 | 4 | 0.557 | 28.3 | 0.003
[10 empty] | 17 | 9 | 14 | -10.1748 | 10.1748 | 5 | 6 | 0.376 | 16.2 | 0.002
[10 empty] | 18 | 10 | 11 | 2.6243 | -2.6243 | 6 | 5 | -0.376 | -59.6 | 0.001
[10 empty] | 19 | 12 | 13 | -1.4109 | 1.4109 | 6 | 11 | 0.074 | -46.9 | 0.001
[10 empty] | 20 | 13 | 14 | -4.9348 | 4.9348 | 6 | 12 | 0.069 | 55.2 | 0.001
[15 empty] | 6 | 13 | 0.165 | 43.7 | 0.001
[15 empty] | 7 | 4 | -0.283 | 7.1 | 0.001
[15 empty] | 7 | 8 | 0 | 7.8 | 0.001
[15 empty] | 7 | 9 | 0.274 | -5.5 | 0.002
[15 empty] | 8 | 7 | 0 | 17.6 | 0.001
[15 empty] | 9 | 4 | -0.159 | -43.7 | 0.001
[15 empty] | 9 | 7 | -0.274 | -28.3 | 0.001
[15 empty] | 9 | 10 | 0.052 | 0 | 0.001
[15 empty] | 9 | 14 | 0.094 | 28.3 | 0.001
[15 empty] | 10 | 9 | -0.052 | 0 | 0.001
[15 empty] | 10 | 11 | -0.038 | 5.5 | 0.001
[15 empty] | 11 | 6 | -0.073 | 9.6 | 0.001
[15 empty] | 11 | 10 | 0.038 | -16.2 | 0.001
[15 empty] | 12 | 6 | -0.068 | -28.3 | 0.001
[15 empty] | 12 | 13 | 0.018 | 3.5 | 0.001
[15 empty] | 13 | 6 | -0.164 | 85 | 0.001
[15 empty] | 13 | 12 | -0.018 | -83.8 | 0.001
[15 empty] | 13 | 14 | 0.058 | -7 | 0.001
[15 empty] | 14 | 9 | -0.092 | 1.6 | 0.001
[15 empty] | 14 | 13 | -0.057 | -7.7 | 0.001
-1.6
5.5
Flow Limit: 100MW
Bus# | Real LMP(Matlab) | Real LMP(Powerworld) | Real LMP (Tuning Mode: 2) | Real LMP (Fixed Rho) | Real LMP (Tuning mode: 1) | Reactive LMP(Matlab) | Reactive LMP(Powerworld) | Gen# (Tuning Mode: 1) | Conn. | MW | Generation(Matlab) | Generation(Powerworld) | Gen_Cost(Tuning Mode: 1)
1 | 34.172 | 34.3 | -34.0888 | -34.1184 | -35.3376 | 0 | Slack Bus | 1 | 1 | 161.859 | 1.647 | 164.4 | 8666.5
2 | 70.752 | 69 | -61.287 | -66.0829 | -67.243 | 0 | PV Bus | 2 | 2 | 97.1425 | 1.015 | 105.1 | Gen_Cost(Tuning Mode: 2)
3 | 71.935 | 70.64 | -58.3178 | -62.5934 | -64.2727 | 0 | PV Bus | Gen# (Tuning Mode:2) | Conn. | MW | 0 | 0 | 7784.93
4 | 66.97 | 65.9 | -55.7527 | -59.5788 | -61.5969 | 0.615 | 0.57 | 1 | 1 | 163.737 | 0 | 0 | Gen_Cost(Fixed Rho)
5 | 63.52 | 62.61 | -53.9045 | -57.4066 | -58.8073 | 1.149 | 1.07 | 2 | 2 | 82.5817 | 0 | 0 | 8406.16
6 | 64.297 | 63.43 | -54.5329 | -58.1453 | -60.7525 | 0 | PV Bus | Gen# (Fixed Rho) | Conn. | MW | 0 | 0 | Gen_Cost(Matlab)
7 | 66.633 | 65.55 | -55.4213 | -59.1893 | -61.8625 | 0.043 | 0.24 | 1 | 1 | 164.056 | 0 | 0 | 9066.298
8 | 66.633 | 65.55 | -55.4213 | -59.1893 | -61.9067 | 0 | PV Bus | 2 | 2 | 92.1658 | 0 | 0 | 8965.5509
9 | 66.435 | 65.35 | -55.247 | -58.9845 | -61.7158 | -0.21 | 0.23 |  |  |  | 0 | 0 | Gen_Cost(Powerworld)
10 | 66.438 | 65.38 | -55.1201 | -58.8353 | -61.5056 | 0.05 | 0.41 |  |  |  | 0 | 0 | 9394.81 $/h
11 | 65.605 | 64.62 | -54.8316 | -58.4963 | -61.2375 | 0.177 | 0.31 |  |  |  | 0 | 0
12 | 65.428 | 64.52 | -54.5894 | -58.2116 | -61.0794 | 0.615 | 0.35 |  |  |  | 0 | 0
13 | 65.873 | 64.93 | -54.6334 | -58.2634 | -61.1057 | 0.718 | 0.54 |  |  |  | 0 | 0
14 | 67.561 | 66.52 | -54.9788 | -58.6692 | -61.6178 | 0.663 | 0.84 |  |  |  | 0 | 0
Tuning mode: 1 |  |  |  |  | Tuning mode: 2 |  |  |  |  | Fixed Rho:
T.line# | From | To | From MW | To MW | T.line# | From | To | From MW | To MW | T.line# | From | To | From MW | To MW | From_Bus | To_bus | Line Flow(Matlab) | Line Flow(Powerworld) | Lagrange Mult(Matlab) | Lagrange(Powerworld)
1 | 1 | 2 | -100 | 100 | 1 | 1 | 2 | -100 | 100 | 1 | 1 | 2 | -100 | 100 | 1 | 2 | 1.009 | 100 | 4077.731
2 | 1 | 5 | -61.8592 | 61.8592 | 2 | 1 | 5 | -64.2026 | 64.2026 | 2 | 1 | 5 | -64.0394 | 64.0394 | 1 | 5 | 0.638 | 64.4 | 0
3 | 2 | 3 | -71.6149 | 71.6149 | 3 | 2 | 3 | -68.6563 | 68.6563 | 3 | 2 | 3 | -70.5701 | 70.5701 | 2 | 1 | -0.992 | -17.4 | 0
4 | 2 | 4 | -58.5011 | 58.5011 | 4 | 2 | 4 | -52.961 | 52.961 | 4 | 2 | 4 | -56.4526 | 56.4526 | 2 | 3 | 0.748 | -5.5 | 0
5 | 2 | 5 | -45.3262 | 45.3262 | 5 | 2 | 5 | -40.8797 | 40.8797 | 5 | 2 | 5 | -43.8695 | 43.8695 | 2 | 4 | 0.594 | -9.4 | 0
6 | 3 | 4 | 22.5851 | -22.5851 | 6 | 3 | 4 | 24.7908 | -24.7908 | 6 | 3 | 4 | 23.4417 | -23.4417 | 2 | 5 | 0.458 | -98.3 | 0
7 | 4 | 5 | 57.7596 | -57.7596 | 7 | 4 | 5 | 60.4454 | -60.4454 | 7 | 4 | 5 | 59.6114 | -59.6114 | 3 | 2 | -0.724 | 75.1 | 0
8 | 4 | 7 | -29.1497 | 29.1497 | 8 | 4 | 7 | -26.7224 | 26.7224 | 8 | 4 | 7 | -28.6502 | 28.6502 | 3 | 4 | -0.216 | 60 | 0
9 | 4 | 9 | -16.7258 | 16.7258 | 9 | 4 | 9 | -15.5805 | 15.5805 | 9 | 4 | 9 | -16.5052 | 16.5052 | 4 | 2 | -0.575 | 46.7 | 0
10 | 5 | 6 | -41.8256 | 41.8256 | 10 | 5 | 6 | -38.3292 | 38.3292 | 10 | 5 | 6 | -40.9491 | 40.9491 | 4 | 3 | 0.219 | -72.6 | 0
11 | 6 | 11 | -6.1492 | 6.1492 | 11 | 6 | 11 | -5.6111 | 5.6111 | 11 | 6 | 11 | -5.9704 | 5.9704 | 4 | 5 | -0.57 | -21.6 | 0
12 | 6 | 12 | -7.5223 | 7.5223 | 12 | 6 | 12 | -6.9018 | 6.9018 | 12 | 6 | 12 | -7.3685 | 7.3685 | 4 | 7 | 0.265 | -58.1 | 0
13 | 6 | 13 | -16.9539 | 16.9539 | 13 | 6 | 13 | -15.8513 | 15.8513 | 13 | 6 | 13 | -16.6706 | 16.6706 | 4 | 9 | 0.158 | -3.6 | 0
14 | 7 | 8 | -2.8137e-05 | 2.8137e-05 | 14 | 7 | 8 | 0.22844 | -0.22844 | 14 | 7 | 8 | 0.054584 | -0.054584 | 5 | 1 | -0.619 | 21.9 | 0
15 | 7 | 9 | -29.1496 | 29.1496 | 15 | 7 | 9 | -27.6535 | 27.6535 | 15 | 7 | 9 | -28.8685 | 28.8685 | 5 | 2 | -0.447 | -56.1 | 0
16 | 9 | 10 | -6.351 | 6.351 | 16 | 9 | 10 | -5.4799 | 5.4799 | 16 | 9 | 10 | -6.2096 | 6.2096 | 5 | 4 | 0.575 | 28.3 | 0
17 | 9 | 14 | -10.0242 | 10.0242 | 17 | 9 | 14 | -9.4302 | 9.4302 | 17 | 9 | 14 | -9.9346 | 9.9346 | 5 | 6 | 0.376 | 16.2 | 0
18 | 10 | 11 | 2.6491 | -2.6491 | 18 | 10 | 11 | 2.822 | -2.822 | 18 | 10 | 11 | 2.6292 | -2.6292 | 6 | 5 | -0.376 | -62.3 | 0
19 | 12 | 13 | -1.4222 | 1.4222 | 19 | 12 | 13 | -1.5008 | 1.5008 | 19 | 12 | 13 | -1.4253 | 1.4253 | 6 | 11 | 0.074 | -45.5 | 0
20 | 13 | 14 | -4.8759 | 4.8759 | 20 | 13 | 14 | -4.7786 | 4.7786 | 20 | 13 | 14 | -4.8054 | 4.8054 | 6 | 12 | 0.069 | 56.6 | 0
[15 empty] | 6 | 13 | 0.166 | 43.7 | 0
[15 empty] | 7 | 4 | -0.265 | 7.1 | 0
[15 empty] | 7 | 8 | 0 | 7.8 | 0
[15 empty] | 7 | 9 | 0.313 | -5.4 | 0
[15 empty] | 8 | 7 | 0 | 17.6 | 0
[15 empty] | 9 | 4 | -0.158 | -43.7 | 0
[15 empty] | 9 | 7 | -0.313 | -28.3 | 0
[15 empty] | 9 | 10 | 0.052 | 0 | 0
[15 empty] | 9 | 14 | 0.093 | 28.3 | 0
[15 empty] | 10 | 9 | -0.052 | 0 | 0
[15 empty] | 10 | 11 | -0.038 | 5.4 | 0
[15 empty] | 11 | 6 | -0.074 | 9.6 | 0
[15 empty] | 11 | 10 | 0.039 | -16.2 | 0
[15 empty] | 12 | 6 | -0.068 | -28.3 | 0
[15 empty] | 12 | 13 | 0.018 | 3.6 | 0
[15 empty] | 13 | 6 | -0.164 | 100 | 0 | 38.86
[15 empty] | 13 | 12 | -0.018 | -98.3 | 0
[15 empty] | 13 | 14 | 0.058 | -7.1 | 0
[15 empty] | 14 | 9 | -0.092 | 1.6 | 0
[15 empty] | 14 | 13 | -0.057 | -7.7 | 0
-1.6
5.5
Flow Limit: 150MW
Bus# | Real LMP(Matlab) | Real LMP(Powerworld) | Real LMP (Tuning Mode: 2) | Real LMP (Fixed Rho) | Real LMP (Tuning mode: 1) | Reactive LMP(Matlab) | Reactive LMP(Powerworld) | Gen# (Tuning Mode: 1) | Conn. | MW | Generation(Matlab) | Generation(Powerworld) | Gen_Cost(Tuning Mode: 1)
1 | 39.175 | 40.02 | -38.7459 | -39.0162 | -39.0019 | 0 | Slack Bus | 1 | 1 | 220.699 | 2.228 | 215.6 | 7630.36
2 | 41.804 | 42.01 | -38.7459 | -39.0162 | -39.0022 | 0 | PV Bus | 2 | 2 | 37.9869 | 0.436 | 56 | Gen_Cost(Tuning Mode: 2)
3 | 44.989 | 45.3 | -38.7458 | -39.0162 | -39.0022 | 0 | PV Bus | Gen# (Tuning Mode:2) | Conn. | MW | 0 | 0 | 7503.17
4 | 43.909 | 44.32 | -38.7458 | -39.0162 | -39.0023 | 0.164 | 0.08 | 1 | 1 | 217.909 | 0 | 0 | Gen_Cost(Fixed Rho)
5 | 43.152 | 43.62 | -38.7459 | -39.0162 | -39.0023 | 0.308 | 0.22 | 2 | 2 | 37.5057 | 0 | 0 | 7642.59
6 | 43.153 | 43.66 | -38.7459 | -39.0162 | -39.0026 | 0 | PV Bus | Gen# (Fixed Rho) | Conn. | MW | 0 | 0 | Gen_Cost(Matlab)
7 | 43.933 | 44.32 | -38.7459 | -39.0162 | -39.0024 | 0.009 | 0.08 | 1 | 1 | 220.968 | 0 | 0 | 7939.914
8 | 43.933 | 44.32 | -38.7459 | -39.0162 | -39.0024 | 0 | PV Bus | 2 | 2 | 38.0323 | 0 | 0 | 7939.426
9 | 43.94 | 44.32 | -38.7459 | -39.0162 | -39.0025 | -0.066 | 0.14 |  |  |  | 0 | 0 | Gen_Cost(Powerworld)
10 | 44.053 | 44.45 | -38.7459 | -39.0162 | -39.0026 | 0.1 | 0.27 |  |  |  | 0 | 0 | 8249.34 $/h
11 | 43.756 | 44.2 | -38.7459 | -39.0162 | -39.0026 | 0.157 | 0.21 |  |  |  | 0 | 0
12 | 43.864 | 44.36 | -38.7459 | -39.0162 | -39.0027 | 0.407 | 0.23 |  |  |  | 0 | 0
13 | 44.116 | 44.6 | -38.7459 | -39.0162 | -39.0027 | 0.494 | 0.37 |  |  |  | 0 | 0
14 | 44.93 | 45.36 | -38.7459 | -39.0162 | -39.0026 | 0.494 | 0.56 |  |  |  | 0 | 0
Tuning mode: 1 |  |  |  |  | Tuning mode: 2 |  |  |  |  | Fixed Rho:
T.line# | From | To | From MW | To MW | T.line# | From | To | From MW | To MW | T.line# | From | To | From MW | To MW | From_Bus | To_bus | Line Flow(Matlab) | Line Flow(Powerworld) | Lagrange Mult(Matlab) | Lagrange(Powerworld)
1 | 1 | 2 | -149.321 | 149.321 | 1 | 1 | 2 | -147.702 | 147.702 | 1 | 1 | 2 | -149.53 | 149.53 | 1 | 2 | 1.5 | 142.8 | 61.888
2 | 1 | 5 | -71.3866 | 71.3866 | 2 | 1 | 5 | -70.4146 | 70.4146 | 2 | 1 | 5 | -71.4381 | 71.4381 | 1 | 5 | 0.729 | 72.8 | 0
3 | 2 | 3 | -69.8474 | 69.8474 | 3 | 2 | 3 | -69.5798 | 69.5798 | 3 | 2 | 3 | -69.9964 | 69.9964 | 2 | 1 | -1.461 | -17.5 | 0
4 | 2 | 4 | -54.8118 | 54.8118 | 4 | 2 | 4 | -54.3894 | 54.3894 | 4 | 2 | 4 | -55.1138 | 55.1138 | 2 | 3 | 0.728 | -5.6 | 0
5 | 2 | 5 | -41.0061 | 41.0061 | 5 | 2 | 5 | -40.0681 | 40.0681 | 5 | 2 | 5 | -40.7517 | 40.7517 | 2 | 4 | 0.554 | -9.3 | 0
6 | 3 | 4 | 24.3248 | -24.3248 | 6 | 3 | 4 | 24.4624 | -24.4624 | 6 | 3 | 4 | 24.2036 | -24.2036 | 2 | 5 | 0.408 | -139.2 | 0
7 | 4 | 5 | 62.9109 | -62.9109 | 7 | 4 | 5 | 62.1146 | -62.1146 | 7 | 4 | 5 | 62.4973 | -62.4973 | 3 | 2 | -0.706 | 73.7 | 0
8 | 4 | 7 | -29.0662 | 29.0662 | 8 | 4 | 7 | -28.2853 | 28.2853 | 8 | 4 | 7 | -28.9794 | 28.9794 | 3 | 4 | -0.226 | 57.1 | 0
9 | 4 | 9 | -16.5873 | 16.5873 | 9 | 4 | 9 | -16.3038 | 16.3038 | 9 | 4 | 9 | -16.6281 | 16.6281 | 4 | 2 | -0.538 | 42.8 | 0
10 | 5 | 6 | -41.9296 | 41.9296 | 10 | 5 | 6 | -41.2603 | 41.2603 | 10 | 5 | 6 | -42.0925 | 42.0925 | 4 | 3 | 0.23 | -71.3 | 0
11 | 6 | 11 | -6.2378 | 6.2378 | 11 | 6 | 11 | -6.2026 | 6.2026 | 11 | 6 | 11 | -6.3102 | 6.3102 | 4 | 5 | -0.607 | -22.9 | 0
12 | 6 | 12 | -7.5146 | 7.5146 | 12 | 6 | 12 | -7.4054 | 7.4054 | 12 | 6 | 12 | -7.5459 | 7.5459 | 4 | 7 | 0.278 | -55.3 | 0
13 | 6 | 13 | -16.9969 | 16.9969 | 13 | 6 | 13 | -16.7624 | 16.7624 | 13 | 6 | 13 | -17.0365 | 17.0365 | 4 | 9 | 0.159 | -3.7 | 0
14 | 7 | 8 | 0.0078382 | -0.0078382 | 14 | 7 | 8 | 0.062802 | -0.062802 | 14 | 7 | 8 | 1.2856e-10 | -1.2856e-10 | 5 | 1 | -0.703 | 23.2 | 0
15 | 7 | 9 | -29.0966 | 29.0966 | 15 | 7 | 9 | -28.5242 | 28.5242 | 15 | 7 | 9 | -28.9794 | 28.9794 | 5 | 2 | -0.399 | -59.9 | 0
16 | 9 | 10 | -6.243 | 6.243 | 16 | 9 | 10 | -5.9222 | 5.9222 | 16 | 9 | 10 | -6.1898 | 6.1898 | 5 | 4 | 0.613 | 28.1 | 0
17 | 9 | 14 | -9.962 | 9.962 | 17 | 9 | 14 | -9.7157 | 9.7157 | 17 | 9 | 14 | -9.9176 | 9.9176 | 5 | 6 | 0.384 | 16.1 | 0
18 | 10 | 11 | 2.7467 | -2.7467 | 18 | 10 | 11 | 2.8832 | -2.8832 | 18 | 10 | 11 | 2.8102 | -2.8102 | 6 | 5 | -0.384 | -70.2 | 0
19 | 12 | 13 | -1.4211 | 1.4211 | 19 | 12 | 13 | -1.4824 | 1.4824 | 19 | 12 | 13 | -1.4459 | 1.4459 | 6 | 11 | 0.076 | -41.8 | 0
20 | 13 | 14 | -4.9288 | 4.9288 | 20 | 13 | 14 | -4.9876 | 4.9876 | 20 | 13 | 14 | -4.9824 | 4.9824 | 6 | 12 | 0.069 | 60.4 | 0
[15 empty] | 6 | 13 | 0.166 | 44 | 0
[15 empty] | 7 | 4 | -0.278 | 7.3 | 0
[15 empty] | 7 | 8 | 0 | 7.8 | 0
[15 empty] | 7 | 9 | 0.282 | -5.3 | 0
[15 empty] | 8 | 7 | 0 | 17.7 | 0
[15 empty] | 9 | 4 | -0.159 | -44 | 0
[15 empty] | 9 | 7 | -0.282 | -28.1 | 0
[15 empty] | 9 | 10 | 0.05 | 0 | 0
[15 empty] | 9 | 14 | 0.091 | 28.1 | 0
[15 empty] | 10 | 9 | -0.049 | 0 | 0
[15 empty] | 10 | 11 | -0.04 | 5.3 | 0
[15 empty] | 11 | 6 | -0.075 | 9.5 | 0
[15 empty] | 11 | 10 | 0.04 | -16.1 | 0
[15 empty] | 12 | 6 | -0.068 | -28.1 | 0
[15 empty] | 12 | 13 | 0.019 | 3.7 | 0
[15 empty] | 13 | 6 | -0.164 | 142.8 | 0
[15 empty] | 13 | 12 | -0.018 | -139.2 | 0
[15 empty] | 13 | 14 | 0.059 | -7.2 | 0
[15 empty] | 14 | 9 | -0.09 | 1.6 | 0
[15 empty] | 14 | 13 | -0.059 | -7.7 | 0
-1.6
5.6
Flow Limit: 200MW
Bus# | Real LMP(Matlab) | Real LMP(Powerworld) | Real LMP (Tuning Mode: 2) | Real LMP (Fixed Rho) | Real LMP (Tuning mode: 1) | Reactive LMP(Matlab) | Reactive LMP(Powerworld) | Gen# (Tuning Mode: 1) | Conn. | MW | Generation(Matlab) | Generation(Powerworld) | Gen_Cost(Tuning Mode: 1)
1 | 39.254 | 40.02 | -38.7459 | -39.0162 | -39.0019 | 0 | Slack Bus | 1 | 1 | 220.699 | 2.237 | 215.6 | 7630.36
2 | 41.362 | 42.01 | -38.7459 | -39.0162 | -39.0022 | 0 | PV Bus | 2 | 2 | 37.9869 | 0.427 | 56 | Gen_Cost(Tuning Mode: 2)
3 | 44.569 | 45.3 | -38.7458 | -39.0162 | -39.0022 | 0 | PV Bus | Gen# (Tuning Mode:2) | Conn. | MW | 0 | 0 | 7503.17
4 | 43.549 | 44.32 | -38.7458 | -39.0162 | -39.0023 | 0.157 | 0.08 | 1 | 1 | 217.909 | 0 | 0 | Gen_Cost(Fixed Rho)
5 | 42.835 | 43.62 | -38.7459 | -39.0162 | -39.0023 | 0.294 | 0.22 | 2 | 2 | 37.5057 | 0 | 0 | 7642.59
6 | 42.824 | 43.66 | -38.7459 | -39.0162 | -39.0026 | 0 | PV Bus | Gen# (Fixed Rho) | Conn. | MW | 0 | 0 | Gen_Cost(Matlab)
7 | 43.579 | 44.32 | -38.7459 | -39.0162 | -39.0024 | 0.009 | 0.08 | 1 | 1 | 220.968 | 0 | 0 | 7939.428
8 | 43.579 | 44.32 | -38.7459 | -39.0162 | -39.0024 | 0 | PV Bus | 2 | 2 | 38.0323 | 0 | 0 | 7939.1758
9 | 43.588 | 44.32 | -38.7459 | -39.0162 | -39.0025 | -0.063 | 0.14 |  |  |  | 0 | 0 | Gen_Cost(Powerworld)
10 | 43.704 | 44.45 | -38.7459 | -39.0162 | -39.0026 | 0.102 | 0.27 |  |  |  | 0 | 0 | 8249.34 $/h
11 | 43.416 | 44.2 | -38.7459 | -39.0162 | -39.0026 | 0.157 | 0.21 |  |  |  | 0 | 0
12 | 43.529 | 44.36 | -38.7459 | -39.0162 | -39.0027 | 0.404 | 0.23 |  |  |  | 0 | 0
13 | 43.777 | 44.6 | -38.7459 | -39.0162 | -39.0027 | 0.491 | 0.37 |  |  |  | 0 | 0
14 | 44.577 | 45.36 | -38.7459 | -39.0162 | -39.0026 | 0.493 | 0.56 |  |  |  | 0 | 0
Tuning mode: 1 |  |  |  |  | Tuning mode: 2 |  |  |  |  | Fixed Rho:
T.line# | From | To | From MW | To MW | T.line# | From | To | From MW | To MW | T.line# | From | To | From MW | To MW | From_Bus | To_bus | Line Flow(Matlab) | Line Flow(Powerworld) | Lagrange Mult(Matlab) | Lagrange(Powerworld)
1 | 1 | 2 | -149.321 | 149.321 | 1 | 1 | 2 | -147.702 | 147.702 | 1 | 1 | 2 | -149.53 | 149.53 | 1 | 2 | 1.508 | 142.8
2 | 1 | 5 | -71.3866 | 71.3866 | 2 | 1 | 5 | -70.4146 | 70.4146 | 2 | 1 | 5 | -71.4381 | 71.4381 | 1 | 5 | 0.73 | 72.8
3 | 2 | 3 | -69.8474 | 69.8474 | 3 | 2 | 3 | -69.5798 | 69.5798 | 3 | 2 | 3 | -69.9964 | 69.9964 | 2 | 1 | -1.468 | -17.5
4 | 2 | 4 | -54.8118 | 54.8118 | 4 | 2 | 4 | -54.3894 | 54.3894 | 4 | 2 | 4 | -55.1138 | 55.1138 | 2 | 3 | 0.728 | -5.6
5 | 2 | 5 | -41.0061 | 41.0061 | 5 | 2 | 5 | -40.0681 | 40.0681 | 5 | 2 | 5 | -40.7517 | 40.7517 | 2 | 4 | 0.553 | -9.3
6 | 3 | 4 | 24.3248 | -24.3248 | 6 | 3 | 4 | 24.4624 | -24.4624 | 6 | 3 | 4 | 24.2036 | -24.2036 | 2 | 5 | 0.407 | -139.2
7 | 4 | 5 | 62.9109 | -62.9109 | 7 | 4 | 5 | 62.1146 | -62.1146 | 7 | 4 | 5 | 62.4973 | -62.4973 | 3 | 2 | -0.705 | 73.7
8 | 4 | 7 | -29.0662 | 29.0662 | 8 | 4 | 7 | -28.2853 | 28.2853 | 8 | 4 | 7 | -28.9794 | 28.9794 | 3 | 4 | -0.226 | 57.1
9 | 4 | 9 | -16.5873 | 16.5873 | 9 | 4 | 9 | -16.3038 | 16.3038 | 9 | 4 | 9 | -16.6281 | 16.6281 | 4 | 2 | -0.537 | 42.8
10 | 5 | 6 | -41.9296 | 41.9296 | 10 | 5 | 6 | -41.2603 | 41.2603 | 10 | 5 | 6 | -42.0925 | 42.0925 | 4 | 3 | 0.23 | -71.3
11 | 6 | 11 | -6.2378 | 6.2378 | 11 | 6 | 11 | -6.2026 | 6.2026 | 11 | 6 | 11 | -6.3102 | 6.3102 | 4 | 5 | -0.608 | -22.9
12 | 6 | 12 | -7.5146 | 7.5146 | 12 | 6 | 12 | -7.4054 | 7.4054 | 12 | 6 | 12 | -7.5459 | 7.5459 | 4 | 7 | 0.274 | -55.3
13 | 6 | 13 | -16.9969 | 16.9969 | 13 | 6 | 13 | -16.7624 | 16.7624 | 13 | 6 | 13 | -17.0365 | 17.0365 | 4 | 9 | 0.159 | -3.7
14 | 7 | 8 | 0.0078382 | -0.0078382 | 14 | 7 | 8 | 0.062802 | -0.062802 | 14 | 7 | 8 | 1.2856e-10 | -1.2856e-10 | 5 | 1 | -0.704 | 23.2
15 | 7 | 9 | -29.0966 | 29.0966 | 15 | 7 | 9 | -28.5242 | 28.5242 | 15 | 7 | 9 | -28.9794 | 28.9794 | 5 | 2 | -0.399 | -59.9
16 | 9 | 10 | -6.243 | 6.243 | 16 | 9 | 10 | -5.9222 | 5.9222 | 16 | 9 | 10 | -6.1898 | 6.1898 | 5 | 4 | 0.613 | 28.1
17 | 9 | 14 | -9.962 | 9.962 | 17 | 9 | 14 | -9.7157 | 9.7157 | 17 | 9 | 14 | -9.9176 | 9.9176 | 5 | 6 | 0.385 | 16.1
18 | 10 | 11 | 2.7467 | -2.7467 | 18 | 10 | 11 | 2.8832 | -2.8832 | 18 | 10 | 11 | 2.8102 | -2.8102 | 6 | 5 | -0.385 | -70.2
19 | 12 | 13 | -1.4211 | 1.4211 | 19 | 12 | 13 | -1.4824 | 1.4824 | 19 | 12 | 13 | -1.4459 | 1.4459 | 6 | 11 | 0.076 | -41.8
20 | 13 | 14 | -4.9288 | 4.9288 | 20 | 13 | 14 | -4.9876 | 4.9876 | 20 | 13 | 14 | -4.9824 | 4.9824 | 6 | 12 | 0.069 | 60.4
[15 empty] | 6 | 13 | 0.167 | 44
[15 empty] | 7 | 4 | -0.274 | 7.3
[15 empty] | 7 | 8 | 0 | 7.8
[15 empty] | 7 | 9 | 0.286 | -5.3
[15 empty] | 8 | 7 | 0 | 17.7
[15 empty] | 9 | 4 | -0.159 | -44
[15 empty] | 9 | 7 | -0.286 | -28.1
[15 empty] | 9 | 10 | 0.05 | 0
[15 empty] | 9 | 14 | 0.092 | 28.1
[15 empty] | 10 | 9 | -0.05 | 0
[15 empty] | 10 | 11 | -0.04 | 5.3
[15 empty] | 11 | 6 | -0.076 | 9.5
[15 empty] | 11 | 10 | 0.041 | -16.1
[15 empty] | 12 | 6 | -0.069 | -28.1
[15 empty] | 12 | 13 | 0.019 | 3.7
[15 empty] | 13 | 6 | -0.165 | 142.8
[15 empty] | 13 | 12 | -0.019 | -139.2
[15 empty] | 13 | 14 | 0.059 | -7.2
[15 empty] | 14 | 9 | -0.091 | 1.6
[15 empty] | 14 | 13 | -0.059 | -7.7
-1.6
5.6
Flow Limit: Unconstrained
Bus# | Real LMP(Matlab) | Real LMP(Powerworld) | Real LMP (Tuning Mode: 2) | Real LMP (Fixed Rho) | Real LMP (Tuning mode: 1) | Reactive LMP(Matlab) | Reactive LMP(Powerworld) | Gen# (Tuning Mode: 1) | Conn. | MW | Generation(Matlab) | Generation(Powerworld) | Gen_Cost(Tuning Mode: 1)
1 | 39.256 | 40.02 | -38.7459 | -39.0162 | -38.9485 | 0 | Slack Bus | 1 | 1 | 220.304 | 223.8 | 215.6 | 7612.22
2 | 41.351 | 42.01 | -38.7459 | -39.0162 | -38.9483 | 0 | PV Bus | 2 | 2 | 37.9173 | 42.7 | 56 | Gen_Cost(Tuning Mode: 2)
3 | 44.567 | 45.3 | -38.7458 | -39.0162 | -38.9483 | 0 | PV Bus | Gen# (Tuning Mode:2) | Conn. | MW | 0 | 0 | 7503.17
4 | 43.548 | 44.32 | -38.7458 | -39.0162 | -38.9484 | 0.157 | 0.08 | 1 | 1 | 217.909 | 0 | 0 | Gen_Cost(Fixed Rho)
5 | 42.834 | 43.62 | -38.7459 | -39.0162 | -38.9484 | 0.294 | 0.22 | 2 | 2 | 37.5057 | 0 | 0 | 7642.59
6 | 42.822 | 43.66 | -38.7459 | -39.0162 | -38.9485 | 0 | PV Bus | Gen# (Fixed Rho) | Conn. | MW | 0 | 0 | Gen_Cost(Matlab)
7 | 43.578 | 44.32 | -38.7459 | -39.0162 | -38.9484 | 0.009 | 0.08 | 1 | 1 | 220.968 | 0 | 0 | 7939.159
8 | 43.578 | 44.32 | -38.7459 | -39.0162 | -38.9484 | 0 | PV Bus | 2 | 2 | 38.0323 | 0 | 0 | 7939.1697
9 | 43.587 | 44.32 | -38.7459 | -39.0162 | -38.9484 | -0.063 | 0.14 |  |  |  | 0 | 0 | Gen_Cost(Powerworld)
10 | 43.703 | 44.45 | -38.7459 | -39.0162 | -38.9484 | 0.102 | 0.27 |  |  |  | 0 | 0 | 8249.34 $/h
11 | 43.414 | 44.2 | -38.7459 | -39.0162 | -38.9484 | 0.157 | 0.21 |  |  |  | 0 | 0
12 | 43.528 | 44.36 | -38.7459 | -39.0162 | -38.9485 | 0.404 | 0.23 |  |  |  | 0 | 0
13 | 43.776 | 44.6 | -38.7459 | -39.0162 | -38.9485 | 0.491 | 0.37 |  |  |  | 0 | 0
14 | 44.576 | 45.36 | -38.7459 | -39.0162 | -38.9484 | 0.492 | 0.56 |  |  |  | 0 | 0
Tuning mode: 1 |  |  |  |  | Tuning mode: 2 |  |  |  |  | Fixed Rho:
T.line# | From | To | From MW | To MW | T.line# | From | To | From MW | To MW | T.line# | From | To | From MW | To MW | From_Bus | To_bus | Line Flow(Matlab) | Line Flow(Powerworld) | Lagrange Mult(Matlab) | Lagrange(Powerworld)
1 | 1 | 2 | -149.173 | 149.173 | 1 | 1 | 2 | -147.702 | 147.702 | 1 | 1 | 2 | -149.53 | 149.53 | 1 | 2 | 1.508 | 142.8
2 | 1 | 5 | -71.2672 | 71.2672 | 2 | 1 | 5 | -70.4146 | 70.4146 | 2 | 1 | 5 | -71.4381 | 71.4381 | 1 | 5 | 0.73 | 72.8
3 | 2 | 3 | -69.9026 | 69.9026 | 3 | 2 | 3 | -69.5798 | 69.5798 | 3 | 2 | 3 | -69.9964 | 69.9964 | 2 | 1 | -1.468 | -17.5
4 | 2 | 4 | -54.9619 | 54.9619 | 4 | 2 | 4 | -54.3894 | 54.3894 | 4 | 2 | 4 | -55.1138 | 55.1138 | 2 | 3 | 0.728 | -5.6
5 | 2 | 5 | -40.6113 | 40.6113 | 5 | 2 | 5 | -40.0681 | 40.0681 | 5 | 2 | 5 | -40.7517 | 40.7517 | 2 | 4 | 0.553 | -9.3
6 | 3 | 4 | 24.2509 | -24.2509 | 6 | 3 | 4 | 24.4624 | -24.4624 | 6 | 3 | 4 | 24.2036 | -24.2036 | 2 | 5 | 0.407 | -139.2
7 | 4 | 5 | 62.4117 | -62.4117 | 7 | 4 | 5 | 62.1146 | -62.1146 | 7 | 4 | 5 | 62.4973 | -62.4973 | 3 | 2 | -0.705 | 73.7
8 | 4 | 7 | -28.8352 | 28.8352 | 8 | 4 | 7 | -28.2853 | 28.2853 | 8 | 4 | 7 | -28.9794 | 28.9794 | 3 | 4 | -0.226 | 57.1
9 | 4 | 9 | -16.567 | 16.567 | 9 | 4 | 9 | -16.3038 | 16.3038 | 9 | 4 | 9 | -16.6281 | 16.6281 | 4 | 2 | -0.537 | 42.8
10 | 5 | 6 | -41.9244 | 41.9244 | 10 | 5 | 6 | -41.2603 | 41.2603 | 10 | 5 | 6 | -42.0925 | 42.0925 | 4 | 3 | 0.23 | -71.3
11 | 6 | 11 | -6.2914 | 6.2914 | 11 | 6 | 11 | -6.2026 | 6.2026 | 11 | 6 | 11 | -6.3102 | 6.3102 | 4 | 5 | -0.608 | -22.9
12 | 6 | 12 | -7.5163 | 7.5163 | 12 | 6 | 12 | -7.4054 | 7.4054 | 12 | 6 | 12 | -7.5459 | 7.5459 | 4 | 7 | 0.282 | -55.3
13 | 6 | 13 | -16.9783 | 16.9783 | 13 | 6 | 13 | -16.7624 | 16.7624 | 13 | 6 | 13 | -17.0365 | 17.0365 | 4 | 9 | 0.156 | -3.7
14 | 7 | 8 | 0.011692 | -0.011692 | 14 | 7 | 8 | 0.062802 | -0.062802 | 14 | 7 | 8 | 1.2856e-10 | -1.2856e-10 | 5 | 1 | -0.704 | 23.2
15 | 7 | 9 | -28.8875 | 28.8875 | 15 | 7 | 9 | -28.5242 | 28.5242 | 15 | 7 | 9 | -28.9794 | 28.9794 | 5 | 2 | -0.399 | -59.9
16 | 9 | 10 | -6.1402 | 6.1402 | 16 | 9 | 10 | -5.9222 | 5.9222 | 16 | 9 | 10 | -6.1898 | 6.1898 | 5 | 4 | 0.613 | 28.1
17 | 9 | 14 | -9.8781 | 9.8781 | 17 | 9 | 14 | -9.7157 | 9.7157 | 17 | 9 | 14 | -9.9176 | 9.9176 | 5 | 6 | 0.379 | 16.1
18 | 10 | 11 | 2.8289 | -2.8289 | 18 | 10 | 11 | 2.8832 | -2.8832 | 18 | 10 | 11 | 2.8102 | -2.8102 | 6 | 5 | -0.379 | -70.2
19 | 12 | 13 | -1.4568 | 1.4568 | 19 | 12 | 13 | -1.4824 | 1.4824 | 19 | 12 | 13 | -1.4459 | 1.4459 | 6 | 11 | 0.077 | -41.8
20 | 13 | 14 | -4.987 | 4.987 | 20 | 13 | 14 | -4.9876 | 4.9876 | 20 | 13 | 14 | -4.9824 | 4.9824 | 6 | 12 | 0.07 | 60.4
[15 empty] | 6 | 13 | 0.168 | 44
[15 empty] | 7 | 4 | -0.282 | 7.3
[15 empty] | 7 | 8 | 0 | 7.8
[15 empty] | 7 | 9 | 0.25 | -5.3
[15 empty] | 8 | 7 | 0 | 17.7
[15 empty] | 9 | 4 | -0.156 | -44
[15 empty] | 9 | 7 | -0.25 | -28.1
[15 empty] | 9 | 10 | 0.05 | 0
[15 empty] | 9 | 14 | 0.092 | 28.1
[15 empty] | 10 | 9 | -0.05 | 0
[15 empty] | 10 | 11 | -0.041 | 5.3
[15 empty] | 11 | 6 | -0.076 | 9.5
[15 empty] | 11 | 10 | 0.041 | -16.1
[15 empty] | 12 | 6 | -0.069 | -28.1
[15 empty] | 12 | 13 | 0.019 | 3.7
[15 empty] | 13 | 6 | -0.166 | 142.8
[15 empty] | 13 | 12 | -0.019 | -139.2
[15 empty] | 13 | 14 | 0.06 | -7.2
[15 empty] | 14 | 9 | -0.091 | 1.6
[15 empty] | 14 | 13 | -0.059 | -7.7
-1.6
5.6

## 30_Bus
Flow Limit:
Bus# | Real LMP(Matlab) | Real LMP(Powerworld) | Reactive LMP(Matlab) | Reactive LMP(Powerworld) | Generation(Matlab) | Generation(Powerworld) | Gen_Cost(Matlab) | Gen_Cost(Powerworld)

## 57_Bus
Flow Limit:
Bus# | Real LMP(Matlab) | Real LMP(Powerworld) | Reactive LMP(Matlab) | Reactive LMP(Powerworld) | Generation(Matlab) | Generation(Powerworld) | Gen_Cost(Matlab) | Gen_Cost(Powerworld)

## 118_Bus
Flow Limit: Unconstrained
Bus# | Real LMP(Matlab) | Real LMP(Powerworld) | Reactive LMP(Matlab) | Reactive LMP(Powerworld) | Generation(Matlab) | Generation(Powerworld) | Gen_Cost(Matlab) | Gen_Cost(Powerworld) | Gen# Conn. MW
1 | 40.244 |  |  |  | 0.123 |  | 106584.272 |  | 1 11.2517e-07 | 103889
2 | 40.092 |  |  |  | 0 |  |  |  | 2 41.25255e-07
3 | 39.911 |  |  |  | 0 |  |  |  | 3 61.25022e-07
4 | 38.792 |  |  |  | 0.002 |  |  |  | 4 81.24662e-07
5 | 38.686 |  |  |  | 0 |  |  |  | 5 10 376.504
6 | 39.473 |  |  |  | 0.001 |  |  |  | 6 12 71.1094
7 | 39.602 |  |  |  | 0 |  |  |  | 7 151.24993e-07
8 | 38.734 |  |  |  | 0.018 |  |  |  | 8 181.24985e-07
9 | 38.053 |  |  |  | 0 |  |  |  | 9 191.25025e-07
10 | 37.055 |  |  |  | 3.837 |  |  |  | 10 241.2492e-07
11 | 39.644 |  |  |  | 0 |  |  |  | 11 25 184.063
12 | 39.606 |  |  |  | 0.833 |  |  |  | 12 26 262.71
13 | 40.183 |  |  |  | 0 |  |  |  | 13 271.24906e-07
14 | 39.979 |  |  |  | 0 |  |  |  | 14 31 5.85647
15 | 40.084 |  |  |  | 0.046 |  |  |  | 15 321.2492e-07
16 | 39.828 |  |  |  | 0 |  |  |  | 16 341.2522e-07
17 | 39.214 |  |  |  | 0 |  |  |  | 17 361.2519e-07
18 | 39.948 |  |  |  | 0.006 |  |  |  | 18 401.24959e-07
19 | 40.129 |  |  |  | 0.067 |  |  |  | 19 421.24942e-07
20 | 40.148 |  |  |  | 0 |  |  |  | 20 46 15.8966
21 | 39.915 |  |  |  | 0 |  |  |  | 21 49 170.677
22 | 39.427 |  |  |  | 0 |  |  |  | 22 54 40.1604
23 | 38.4 |  |  |  | 0 |  |  |  | 23 551.25165e-07
24 | 38.441 |  |  |  | 0 |  |  |  | 24 561.25055e-07
25 | 36.906 |  |  |  | 1.86 |  |  |  | 25 59 129.679
26 | 37.132 |  |  |  | 2.69 |  |  |  | 26 61 133.86
27 | 39.787 |  |  |  | 0.004 |  |  |  | 27 621.2498e-07
28 | 40.178 |  |  |  | 0 |  |  |  | 28 65 327.137
29 | 40.381 |  |  |  | 0 |  |  |  | 29 66 327.971
30 | 38.947 |  |  |  | 0 |  |  |  | 30 69 432.038
31 | 40.434 |  |  |  | 0.072 |  |  |  | 31 701.24968e-07
32 | 39.908 |  |  |  | 0.005 |  |  |  | 32 721.24964e-07
33 | 40.028 |  |  |  | 0 |  |  |  | 33 731.25011e-07
34 | 39.49 |  |  |  | 0.003 |  |  |  | 34 741.24924e-07
35 | 39.614 |  |  |  | 0 |  |  |  | 35 761.24934e-07
36 | 39.634 |  |  |  | 0.002 |  |  |  | 36 771.24925e-07
37 | 39.277 |  |  |  | 0 |  |  |  | 37 80 399.085
38 | 39.032 |  |  |  | 0 |  |  |  | 38 851.24903e-07
39 | 40.02 |  |  |  | 0 |  |  |  | 39 87 3.34654
40 | 40.098 |  |  |  | 0.052 |  |  |  | 40 89 507.851
41 | 40.282 |  |  |  | 0 |  |  |  | 41 901.2482e-07
42 | 39.728 |  |  |  | 0.003 |  |  |  | 42 911.24733e-07
43 | 40.159 |  |  |  | 0 |  |  |  | 43 921.24855e-07
44 | 40.351 |  |  |  | 0 |  |  |  | 44 991.24886e-07
45 | 40.146 |  |  |  | 0 |  |  |  | 45 100 210.842
46 | 39.114 |  |  |  | 0.182 |  |  |  | 46 103 33.4673
47 | 38.517 |  |  |  | 0 |  |  |  | 47 1041.24849e-07
48 | 38.594 |  |  |  | 0 |  |  |  | 48 1051.24831e-07
49 | 38.059 |  |  |  | 1.842 |  |  |  | 49 1071.24827e-07
50 | 38.964 |  |  |  | 0 |  |  |  | 50 1101.24812e-07
51 | 40.028 |  |  |  | 0 |  |  |  | 51 111 30.1206
52 | 40.41 |  |  |  | 0 |  |  |  | 52 1121.24777e-07
53 | 40.546 |  |  |  | 0 |  |  |  | 53 1131.24914e-07
54 | 40.114 |  |  |  | 0.483 |  |  |  | 54 1161.24659e-07
55 | 40.213 |  |  |  | 0.108
56 | 40.192 |  |  |  | 0.097
57 | 39.845 |  |  |  | 0
58 | 40.228 |  |  |  | 0
59 | 38.452 |  |  |  | 1.43
60 | 37.906 |  |  |  | 0
61 | 37.523 |  |  |  | 1.402
62 | 37.893 |  |  |  | 0.001
63 | 38.178 |  |  |  | 0
64 | 37.772 |  |  |  | 0
65 | 36.893 |  |  |  | 3.302
66 | 36.69 |  |  |  | 3.271
67 | 37.592 |  |  |  | 0
68 | 36.906 |  |  |  | 0
69 | 36.28 |  |  |  | 4.204
70 | 38.79 |  |  |  | 0.002
71 | 38.755 |  |  |  | 0
72 | 38.602 |  |  |  | 0.001
73 | 38.756 |  |  |  | 0.002
74 | 39.624 |  |  |  | 0.003
75 | 39.222 |  |  |  | 0
76 | 39.873 |  |  |  | 0.008
77 | 37.858 |  |  |  | -0.001
78 | 37.953 |  |  |  | 0
79 | 37.798 |  |  |  | 0
80 | 36.653 |  |  |  | 3.972
81 | 36.921 |  |  |  | 0
82 | 37.798 |  |  |  | 0
83 | 37.489 |  |  |  | 0
84 | 36.737 |  |  |  | 0
85 | 36.152 |  |  |  | 0
86 | 36.573 |  |  |  | 0
87 | 36.332 |  |  |  | 0.033
88 | 35.635 |  |  |  | 0
89 | 34.768 |  |  |  | 4.482
90 | 35.708 |  |  |  | -0.001
91 | 35.792 |  |  |  | 0
92 | 35.921 |  |  |  | 0
93 | 36.704 |  |  |  | 0
94 | 37.208 |  |  |  | 0
95 | 37.598 |  |  |  | 0
96 | 37.578 |  |  |  | 0
97 | 37.356 |  |  |  | 0
98 | 37.291 |  |  |  | 0
99 | 36.955 |  |  |  | 0
100 | 36.86 |  |  |  | 2.124
101 | 36.775 |  |  |  | 0
102 | 36.231 |  |  |  | 0
103 | 37.687 |  |  |  | 0.354
104 | 38.588 |  |  |  | 0.002
105 | 38.841 |  |  |  | 0.003
106 | 38.943 |  |  |  | 0
107 | 39.439 |  |  |  | 0.002
108 | 38.935 |  |  |  | 0
109 | 38.959 |  |  |  | 0
110 | 38.864 |  |  |  | 0.002
111 | 38.248 |  |  |  | 0.328
112 | 39.312 |  |  |  | 0.002
113 | 39.305 |  |  |  | 0.003
114 | 40.007 |  |  |  | 0
115 | 40.012 |  |  |  | 0
116 | 36.914 |  |  |  | 0.004
117 | 40.22 |  |  |  | 0
118 | 39.722 |  |  |  | 0
Flows
From | To | Line | Lambda_lm | mu_lm | Flow(1st Eig) |  | T.line# From To From MW To MW
1 | 2 | 1 | -0.001 | 0.009 | -0.08 |  | 1 1 2 11.9366 -11.9366
1 | 3 | 2 | -0.001 | 0.009 | -0.307 |  | 2 1 3 39.0275 -39.0275
2 | 1 | 3 | -0.001 | 0.009 | 0.08 |  | 3 2 12 31.9125 -31.9125
2 | 12 | 4 | -0.001 | 0.009 | -0.28 |  | 4 3 5 68.5935 -68.5935
3 | 1 | 5 | -0.001 | 0.009 | 0.308 |  | 5 3 12 9.38403 -9.38403
3 | 5 | 6 | -0.001 | 0.009 | -0.622 |  | 6 4 5 93.8965 -93.8965
3 | 12 | 7 | -0.001 | 0.009 | -0.075 |  | 7 4 11 -63.9536 63.9536
4 | 5 | 8 | -0.001 | 0.009 | -0.919 |  | 8 5 6 -86.316 86.316
4 | 11 | 9 | -0.001 | 0.009 | 0.621 |  | 9 8 5 -324.421 324.421
5 | 3 | 10 | -0.001 | 0.009 | 0.631 |  | 10 5 11 -75.684 75.684
5 | 4 | 11 | -0.001 | 0.009 | 0.921 |  | 11 6 7 -34.3719 34.3719
5 | 6 | 12 | -0.001 | 0.009 | 0.847 |  | 12 7 12 -15.4032 15.4032
5 | 8 | 13 | -0.001 | 0.009 | -3.061 |  | 13 8 9 376.539 -376.539
5 | 11 | 14 | -0.001 | 0.009 | 0.725 |  | 14 8 30 -52.152 52.152
6 | 5 | 15 | -0.001 | 0.009 | -0.839 |  | 15 9 10 376.529 -376.529
6 | 7 | 16 | -0.001 | 0.009 | 0.32 |  | 16 11 12 -38.6734 38.6734
7 | 6 | 17 | -0.001 | 0.009 | -0.32 |  | 17 11 13 -31.0285 31.0285
7 | 12 | 18 | -0.001 | 0.009 | 0.141 |  | 18 12 14 -13.2547 13.2547
8 | 5 | 19 | -0.001 | 0.009 | 3.061 |  | 19 12 16 -3.74495 3.74495
8 | 9 | 20 | -0.001 | 0.009 | -3.769 |  | 20 12 117 -19.9838 19.9838
8 | 30 | 21 | -0.001 | 0.009 | 0.681 |  | 21 13 15 2.93715 -2.93715
9 | 8 | 22 | -0.001 | 0.009 | 3.802 |  | 22 14 15 0.715837 -0.715837
9 | 10 | 23 | -0.001 | 0.009 | -3.802 |  | 23 15 17 98.6604 -98.6604
10 | 9 | 24 | -0.001 | 0.009 | 3.837 |  | 24 15 19 -6.80102 6.80102
11 | 4 | 25 | -0.001 | 0.009 | -0.614 |  | 25 15 33 1.71574 -1.71574
11 | 5 | 26 | -0.001 | 0.009 | -0.716 |  | 26 16 17 21.2239 -21.2239
11 | 12 | 27 | -0.001 | 0.009 | 0.298 |  | 27 17 18 -75.4331 75.4331
11 | 13 | 28 | -0.001 | 0.009 | 0.333 |  | 28 30 17 -217.28 217.28
12 | 2 | 29 | -0.001 | 0.009 | 0.282 |  | 29 17 31 -14.5219 14.5219
12 | 3 | 30 | -0.001 | 0.009 | 0.076 |  | 30 17 113 3.48053 -3.48053
12 | 7 | 31 | -0.001 | 0.009 | -0.141 |  | 31 18 19 -15.4783 15.4783
12 | 11 | 32 | -0.001 | 0.009 | -0.297 |  | 32 19 20 10.4476 -10.4476
12 | 14 | 33 | -0.001 | 0.009 | 0.165 |  | 33 19 34 12.2106 -12.2106
12 | 16 | 34 | -0.001 | 0.009 | 0.078 |  | 34 20 21 28.4154 -28.4154
12 | 117 | 35 | -0.001 | 0.009 | 0.201 |  | 35 21 22 42.3789 -42.3789
13 | 11 | 36 | -0.001 | 0.009 | -0.33 |  | 36 22 23 52.3466 -52.3466
13 | 15 | 37 | -0.001 | 0.009 | -0.009 |  | 37 23 24 20.2917 -20.2917
14 | 12 | 38 | -0.001 | 0.009 | -0.165 |  | 38 23 25 131.647 -131.647
14 | 15 | 39 | -0.001 | 0.009 | 0.025 |  | 39 23 32 -92.6328 92.6328
15 | 13 | 40 | -0.001 | 0.009 | 0.009 |  | 40 24 70 10.1073 -10.1073
15 | 14 | 41 | -0.001 | 0.009 | -0.025 |  | 41 24 72 10.1398 -10.1398
15 | 17 | 42 | -0.001 | 0.009 | -0.933 |  | 42 26 25 -72.6177 72.6177
15 | 19 | 43 | -0.001 | 0.009 | 0.078 |  | 43 25 27 -125.062 125.062
15 | 33 | 44 | -0.001 | 0.009 | 0.004 |  | 44 26 30 -190.118 190.118
16 | 12 | 45 | -0.001 | 0.009 | -0.077 |  | 45 27 28 -32.3168 32.3168
16 | 17 | 46 | -0.001 | 0.009 | -0.172 |  | 46 27 32 -10.9675 10.9675
17 | 15 | 47 | -0.001 | 0.009 | 0.943 |  | 47 27 115 -19.8326 19.8326
17 | 16 | 48 | -0.001 | 0.009 | 0.173 |  | 48 28 29 -15.3547 15.3547
17 | 18 | 49 | -0.001 | 0.009 | 0.747 |  | 49 29 31 8.60237 -8.60237
17 | 30 | 50 | -0.001 | 0.009 | -2.055 |  | 50 30 38 -25.0159 25.0159
17 | 31 | 51 | -0.001 | 0.009 | 0.182 |  | 51 31 32 31.1592 -31.1592
17 | 113 | 52 | -0.001 | 0.009 | -0.001 |  | 52 32 113 -3.44043 3.44043
18 | 17 | 53 | -0.001 | 0.009 | -0.741 |  | 53 32 114 -10.0826 10.0826
18 | 19 | 54 | -0.001 | 0.009 | 0.147 |  | 54 33 37 24.6795 -24.6795
19 | 15 | 55 | -0.001 | 0.009 | -0.078 |  | 55 34 36 -29.1094 29.1094
19 | 18 | 56 | -0.001 | 0.009 | -0.147 |  | 56 34 37 104.459 -104.459
19 | 20 | 57 | -0.001 | 0.009 | -0.063 |  | 57 34 43 -4.19862 4.19862
19 | 34 | 58 | -0.001 | 0.009 | -0.095 |  | 58 35 36 -1.85061 1.85061
20 | 19 | 59 | -0.001 | 0.009 | 0.063 |  | 59 35 37 34.8192 -34.8192
20 | 21 | 60 | -0.001 | 0.009 | -0.243 |  | 60 38 37 -204.581 204.581
21 | 20 | 61 | -0.001 | 0.009 | 0.244 |  | 61 37 39 -25.2961 25.2961
21 | 22 | 62 | -0.001 | 0.009 | -0.384 |  | 62 37 40 -15.3903 15.3903
22 | 21 | 63 | -0.001 | 0.009 | 0.387 |  | 63 38 65 179.548 -179.548
22 | 23 | 64 | -0.001 | 0.009 | -0.498 |  | 64 39 40 1.66674 -1.66674
23 | 22 | 65 | -0.001 | 0.009 | 0.506 |  | 65 40 41 -10.5094 10.5094
23 | 24 | 66 | -0.001 | 0.009 | -0.071 |  | 66 40 42 16.7103 -16.7103
23 | 25 | 67 | -0.001 | 0.009 | -1.369 |  | 67 41 42 26.4522 -26.4522
23 | 32 | 68 | -0.001 | 0.009 | 0.875 |  | 68 42 49 40.0515 -40.0515
24 | 23 | 69 | -0.001 | 0.009 | 0.071 |  | 69 42 49 40.0515 -40.0515
24 | 70 | 70 | -0.001 | 0.009 | -0.038 |  | 70 43 44 13.7687 -13.7687
24 | 72 | 71 | -0.001 | 0.009 | -0.033 |  | 71 44 45 29.734 -29.734
25 | 23 | 72 | -0.001 | 0.009 | 1.396 |  | 72 45 46 34.1096 -34.1096
25 | 26 | 73 | -0.001 | 0.009 | -0.777 |  | 73 45 49 48.5782 -48.5782
25 | 27 | 74 | -0.001 | 0.009 | 1.274 |  | 74 46 47 31.9618 -31.9618
26 | 25 | 75 | -0.001 | 0.009 | 0.777 |  | 75 46 48 14.189 -14.189
26 | 30 | 76 | -0.001 | 0.009 | 1.88 |  | 76 47 49 5.57184 -5.57184
27 | 25 | 77 | -0.001 | 0.009 | -1.228 |  | 77 47 69 60.3617 -60.3617
27 | 28 | 78 | -0.001 | 0.009 | 0.31 |  | 78 48 49 34.1543 -34.1543
27 | 32 | 79 | -0.001 | 0.009 | 0.104 |  | 79 49 50 -54.1204 54.1204
27 | 115 | 80 | -0.001 | 0.009 | 0.198 |  | 80 49 51 -66.8825 66.8825
28 | 27 | 81 | -0.001 | 0.009 | -0.308 |  | 81 49 54 -39.2014 39.2014
28 | 29 | 82 | -0.001 | 0.009 | 0.138 |  | 82 49 54 -38.9321 38.9321
29 | 28 | 83 | -0.001 | 0.009 | -0.138 |  | 83 49 66 116.532 -116.532
29 | 31 | 84 | -0.001 | 0.009 | -0.102 |  | 84 49 66 116.532 -116.532
30 | 8 | 85 | -0.001 | 0.009 | -0.679 |  | 85 49 69 50.6661 -50.6661
30 | 17 | 86 | -0.001 | 0.009 | 2.055 |  | 86 50 57 -37.1537 37.1537
30 | 26 | 87 | -0.001 | 0.009 | -1.853 |  | 87 51 52 -29.3125 29.3125
30 | 38 | 88 | -0.001 | 0.009 | 0.407 |  | 88 51 58 -20.6145 20.6145
31 | 17 | 89 | -0.001 | 0.009 | -0.181 |  | 89 52 53 -11.3501 11.3501
31 | 29 | 90 | -0.001 | 0.009 | 0.102 |  | 90 53 54 11.6142 -11.6142
31 | 32 | 91 | -0.001 | 0.009 | -0.28 |  | 91 54 55 -6.91393 6.91393
32 | 23 | 92 | -0.001 | 0.009 | -0.853 |  | 92 54 56 -16.2506 16.2506
32 | 27 | 93 | -0.001 | 0.009 | -0.104 |  | 93 54 59 29.3993 -29.3993
32 | 31 | 94 | -0.001 | 0.009 | 0.282 |  | 94 55 56 22.5122 -22.5122
32 | 113 | 95 | -0.001 | 0.009 | -0.002 |  | 95 55 59 33.5179 -33.5179
32 | 114 | 96 | -0.001 | 0.009 | 0.103 |  | 96 56 57 25.1936 -25.1936
33 | 15 | 97 | -0.001 | 0.009 | -0.004 |  | 97 56 58 8.65134 -8.65134
33 | 37 | 98 | -0.001 | 0.009 | -0.214 |  | 98 56 59 27.4673 -27.4673
34 | 19 | 99 | -0.001 | 0.009 | 0.096 |  | 99 56 59 28.8481 -28.8481
34 | 36 | 100 | -0.001 | 0.009 | 0.28 |  | 100 59 60 45.7363 -45.7363
34 | 37 | 101 | -0.001 | 0.009 | -1.043 |  | 101 59 61 54.3369 -54.3369
34 | 43 | 102 | -0.001 | 0.009 | 0.08 |  | 102 63 59 -166.362 166.362
35 | 36 | 103 | -0.001 | 0.009 | 0.029 |  | 103 60 61 113.951 -113.951
35 | 37 | 104 | -0.001 | 0.009 | -0.348 |  | 104 60 62 9.73335 -9.73335
36 | 34 | 105 | -0.001 | 0.009 | -0.279 |  | 105 61 62 -25.3479 25.3479
36 | 35 | 106 | -0.001 | 0.009 | -0.029 |  | 106 64 61 -59.7055 59.7055
37 | 33 | 107 | -0.001 | 0.009 | 0.216 |  | 107 62 66 37.2122 -37.2122
37 | 34 | 108 | -0.001 | 0.009 | 1.045 |  | 108 62 67 24.113 -24.113
37 | 35 | 109 | -0.001 | 0.009 | 0.349 |  | 109 63 64 166.351 -166.351
37 | 38 | 110 | -0.001 | 0.009 | -1.855 |  | 110 64 65 226.039 -226.039
37 | 39 | 111 | -0.001 | 0.009 | 0.252 |  | 111 65 66 -33.3206 33.3206
37 | 40 | 112 | -0.001 | 0.009 | 0.15 |  | 112 65 68 111.725 -111.725
38 | 30 | 113 | -0.001 | 0.009 | -0.406 |  | 113 66 67 -52.0908 52.0908
38 | 37 | 114 | -0.001 | 0.009 | 1.855 |  | 114 68 69 72.1975 -72.1975
38 | 65 | 115 | -0.001 | 0.009 | -1.556 |  | 115 68 81 39.4721 -39.4721
39 | 37 | 116 | -0.001 | 0.009 | -0.25 |  | 116 68 116 0.0257154-0.0257154
39 | 40 | 117 | -0.001 | 0.009 | -0.019 |  | 117 69 70 -99.1455 99.1455
40 | 37 | 118 | -0.001 | 0.009 | -0.149 |  | 118 69 75 -101.339 101.339
40 | 39 | 119 | -0.001 | 0.009 | 0.019 |  | 119 69 77 -48.4032 48.4032
40 | 41 | 120 | -0.001 | 0.009 | 0.133 |  | 120 70 71 -10.0375 10.0375
40 | 42 | 121 | -0.001 | 0.009 | -0.14 |  | 121 70 74 -14.6878 14.6878
41 | 40 | 122 | -0.001 | 0.009 | -0.133 |  | 122 70 75 1.61046 -1.61046
41 | 42 | 123 | -0.001 | 0.009 | -0.237 |  | 123 71 72 -10.098 10.098
42 | 40 | 124 | -0.001 | 0.009 | 0.141 |  | 124 71 73 0.0234808-0.0234808
42 | 41 | 125 | -0.001 | 0.009 | 0.239 |  | 125 74 75 53.2589 -53.2589
42 | 49 | 126 | -0.001 | 0.009 | -0.368 |  | 126 75 77 37.3843 -37.3843
43 | 34 | 127 | -0.001 | 0.009 | -0.079 |  | 127 75 118 -36.9182 36.9182
43 | 44 | 128 | -0.001 | 0.009 | -0.1 |  | 128 76 77 63.9839 -63.9839
44 | 43 | 129 | -0.001 | 0.009 | 0.101 |  | 129 76 118 3.95971 -3.95971
44 | 45 | 130 | -0.001 | 0.009 | -0.261 |  | 130 77 78 -45.4144 45.4144
45 | 44 | 131 | -0.001 | 0.009 | 0.263 |  | 131 77 80 93.0147 -93.0147
45 | 46 | 132 | -0.001 | 0.009 | -0.328 |  | 132 77 80 43.0486 -43.0486
45 | 49 | 133 | -0.001 | 0.009 | -0.465 |  | 133 77 82 23.2262 -23.2262
46 | 45 | 134 | -0.001 | 0.009 | 0.332 |  | 134 78 79 25.5511 -25.5511
46 | 47 | 135 | -0.001 | 0.009 | -0.284 |  | 135 79 80 64.5137 -64.5137
46 | 48 | 136 | -0.001 | 0.009 | -0.146 |  | 136 81 80 39.4618 -39.4618
47 | 46 | 137 | -0.001 | 0.009 | 0.286 |  | 137 80 96 -8.39691 8.39691
47 | 49 | 138 | -0.001 | 0.009 | -0.142 |  | 138 80 97 -15.6753 15.6753
47 | 69 | 139 | -0.001 | 0.009 | -0.494 |  | 139 80 98 -13.1304 13.1304
48 | 46 | 140 | -0.001 | 0.009 | 0.147 |  | 140 80 99 8.05602 -8.05602
48 | 49 | 141 | -0.001 | 0.009 | -0.337 |  | 141 82 83 58.1626 -58.1626
49 | 42 | 142 | -0.001 | 0.009 | 0.378 |  | 142 82 96 19.0113 -19.0113
49 | 45 | 143 | -0.001 | 0.009 | 0.479 |  | 143 83 84 31.5561 -31.5561
49 | 47 | 144 | -0.001 | 0.009 | 0.143 |  | 144 83 85 46.548 -46.548
49 | 48 | 145 | -0.001 | 0.009 | 0.339 |  | 145 84 85 42.5127 -42.5127
49 | 50 | 146 | -0.001 | 0.009 | 0.507 |  | 146 85 86 -17.5931 17.5931
49 | 51 | 147 | -0.001 | 0.009 | 0.629 |  | 147 85 88 55.3851 -55.3851
49 | 54 | 148 | -0.001 | 0.009 | 0.367 |  | 148 85 89 75.1959 -75.1959
49 | 66 | 149 | -0.001 | 0.009 | -1.103 |  | 149 86 87 3.37217 -3.37217
49 | 69 | 150 | -0.001 | 0.009 | -0.399 |  | 150 88 89 103.369 -103.369
50 | 49 | 151 | -0.001 | 0.009 | -0.501 |  | 151 89 90 -32.0283 32.0283
50 | 57 | 152 | -0.001 | 0.009 | 0.331 |  | 152 89 90 -60.3853 60.3853
51 | 49 | 153 | -0.001 | 0.009 | -0.612 |  | 153 89 92 -179.566 179.566
51 | 52 | 154 | -0.001 | 0.009 | 0.27 |  | 154 89 92 -57.3842 57.3842
51 | 58 | 155 | -0.001 | 0.009 | 0.171 |  | 155 90 91 -14.4535 14.4535
52 | 51 | 156 | -0.001 | 0.009 | -0.269 |  | 156 91 92 -14.4839 14.4839
52 | 53 | 157 | -0.001 | 0.009 | 0.099 |  | 157 92 93 -61.7958 61.7958
53 | 52 | 158 | -0.001 | 0.009 | -0.099 |  | 158 92 94 -56.2758 56.2758
53 | 54 | 159 | -0.001 | 0.009 | -0.131 |  | 159 92 100 -27.468 27.468
54 | 49 | 160 | -0.001 | 0.009 | -0.358 |  | 160 92 102 -40.9974 40.9974
54 | 53 | 161 | -0.001 | 0.009 | 0.132 |  | 161 93 94 -49.8327 49.8327
54 | 55 | 162 | -0.001 | 0.009 | 0.054 |  | 162 94 95 -54.6066 54.6066
54 | 56 | 163 | -0.001 | 0.009 | 0.142 |  | 163 94 96 -35.1827 35.1827
54 | 59 | 164 | -0.001 | 0.009 | -0.279 |  | 164 94 100 13.6034 -13.6034
55 | 54 | 165 | -0.001 | 0.009 | -0.054 |  | 165 95 96 -12.6505 12.6505
55 | 56 | 166 | -0.001 | 0.009 | -0.155 |  | 166 96 97 0.70549 -0.70549
55 | 59 | 167 | -0.001 | 0.009 | -0.313 |  | 167 98 100 20.851 -20.851
56 | 54 | 168 | -0.001 | 0.009 | -0.142 |  | 168 99 100 8.0374 -8.0374
56 | 55 | 169 | -0.001 | 0.009 | 0.155 |  | 169 100 101 14.068 -14.068
56 | 57 | 170 | -0.001 | 0.009 | -0.205 |  | 170 100 103 -84.6331 84.6331
56 | 58 | 171 | -0.001 | 0.009 | -0.039 |  | 171 100 104 -42.7277 42.7277
56 | 59 | 172 | -0.001 | 0.009 | -0.255 |  | 172 100 106 -45.6345 45.6345
57 | 50 | 173 | -0.001 | 0.009 | -0.326 |  | 173 101 102 36.0319 -36.0319
57 | 56 | 174 | -0.001 | 0.009 | 0.206 |  | 174 103 104 -26.9542 26.9542
58 | 51 | 175 | -0.001 | 0.009 | -0.17 |  | 175 103 105 -33.6531 33.6531
58 | 56 | 176 | -0.001 | 0.009 | 0.039 |  | 176 103 110 -34.5528 34.5528
59 | 54 | 177 | -0.001 | 0.009 | 0.282 |  | 177 104 105 -31.727 31.727
59 | 55 | 178 | -0.001 | 0.009 | 0.318 |  | 178 105 106 -9.83914 9.83914
59 | 56 | 179 | -0.001 | 0.009 | 0.26 |  | 179 105 107 -15.445 15.445
59 | 60 | 180 | -0.001 | 0.009 | -0.419 |  | 180 105 108 -9.16572 9.16572
59 | 61 | 181 | -0.001 | 0.009 | -0.505 |  | 181 106 107 -12.5136 12.5136
59 | 63 | 182 | -0.001 | 0.009 | -1.487 |  | 182 108 109 -7.19889 7.19889
60 | 59 | 183 | -0.001 | 0.009 | 0.424 |  | 183 109 110 0.771996 -0.771996
60 | 61 | 184 | -0.001 | 0.009 | -1.117 |  | 184 110 111 30.1383 -30.1383
60 | 62 | 185 | -0.001 | 0.009 | -0.087 |  | 185 110 112 -24.9691 24.9691
61 | 59 | 186 | -0.001 | 0.009 | 0.512 |  | 186 114 115 -2.12774 2.12774
61 | 60 | 187 | -0.001 | 0.009 | 1.12
61 | 62 | 188 | -0.001 | 0.009 | 0.268
61 | 64 | 189 | -0.001 | 0.009 | -0.491
62 | 60 | 190 | -0.001 | 0.009 | 0.088
62 | 61 | 191 | -0.001 | 0.009 | -0.267
62 | 66 | 192 | -0.001 | 0.009 | -0.355
62 | 67 | 193 | -0.001 | 0.009 | -0.223
63 | 59 | 194 | -0.001 | 0.009 | 1.487
63 | 64 | 195 | -0.001 | 0.009 | -1.504
64 | 61 | 196 | -0.001 | 0.009 | 0.491
64 | 63 | 197 | -0.001 | 0.009 | 1.508
64 | 65 | 198 | -0.001 | 0.009 | -1.989
65 | 38 | 199 | -0.001 | 0.009 | 1.578
65 | 64 | 200 | -0.001 | 0.009 | 1.999
65 | 66 | 201 | -0.001 | 0.009 | 0.221
65 | 68 | 202 | -0.001 | 0.009 | -0.511
66 | 49 | 203 | -0.001 | 0.009 | 1.123
66 | 62 | 204 | -0.001 | 0.009 | 0.361
66 | 65 | 205 | -0.001 | 0.009 | -0.221
66 | 67 | 206 | -0.001 | 0.009 | 0.51
67 | 62 | 207 | -0.001 | 0.009 | 0.225
67 | 66 | 208 | -0.001 | 0.009 | -0.505
68 | 65 | 209 | -0.001 | 0.009 | 0.512
68 | 69 | 210 | -0.001 | 0.009 | -0.508
68 | 81 | 211 | -0.001 | 0.009 | 0.043
68 | 116 | 212 | -0.001 | 0.009 | -0.004
69 | 47 | 213 | -0.001 | 0.009 | 0.515
69 | 49 | 214 | -0.001 | 0.009 | 0.415
69 | 68 | 215 | -0.001 | 0.009 | 0.508
69 | 70 | 216 | -0.001 | 0.009 | 1.004
69 | 75 | 217 | -0.001 | 0.009 | 1.06
69 | 77 | 218 | -0.001 | 0.009 | 0.666
70 | 24 | 219 | -0.001 | 0.009 | 0.038
70 | 69 | 220 | -0.001 | 0.009 | -0.977
70 | 71 | 221 | -0.001 | 0.009 | 0.02
70 | 74 | 222 | -0.001 | 0.009 | 0.202
70 | 75 | 223 | -0.001 | 0.009 | 0.049
71 | 70 | 224 | -0.001 | 0.009 | -0.02
71 | 72 | 225 | -0.001 | 0.009 | 0.022
71 | 73 | 226 | -0.001 | 0.009 | -0.002
72 | 24 | 227 | -0.001 | 0.009 | 0.033
72 | 71 | 228 | -0.001 | 0.009 | -0.021
73 | 71 | 229 | -0.001 | 0.009 | 0.002
74 | 70 | 230 | -0.001 | 0.009 | -0.2
74 | 75 | 231 | -0.001 | 0.009 | -0.477
75 | 69 | 232 | -0.001 | 0.009 | -1.019
75 | 70 | 233 | -0.001 | 0.009 | -0.048
75 | 74 | 234 | -0.001 | 0.009 | 0.479
75 | 77 | 235 | -0.001 | 0.009 | -0.307
75 | 118 | 236 | -0.001 | 0.009 | 0.425
76 | 77 | 237 | -0.001 | 0.009 | -0.58
76 | 118 | 238 | -0.001 | 0.009 | -0.092
77 | 69 | 239 | -0.001 | 0.009 | -0.654
77 | 75 | 240 | -0.001 | 0.009 | 0.313
77 | 76 | 241 | -0.001 | 0.009 | 0.595
77 | 78 | 242 | -0.001 | 0.009 | 0.466
77 | 80 | 243 | -0.001 | 0.009 | -0.926
77 | 82 | 244 | -0.001 | 0.009 | 0.031
78 | 77 | 245 | -0.001 | 0.009 | -0.465
78 | 79 | 246 | -0.001 | 0.009 | -0.256
79 | 78 | 247 | -0.001 | 0.009 | 0.256
79 | 80 | 248 | -0.001 | 0.009 | -0.646
80 | 77 | 249 | -0.001 | 0.009 | 0.939
80 | 79 | 250 | -0.001 | 0.009 | 0.652
80 | 81 | 251 | -0.001 | 0.009 | -0.084
80 | 96 | 252 | -0.001 | 0.009 | 0.203
80 | 97 | 253 | -0.001 | 0.009 | 0.277
80 | 98 | 254 | -0.001 | 0.009 | 0.236
80 | 99 | 255 | -0.001 | 0.009 | 0.023
81 | 68 | 256 | -0.001 | 0.009 | -0.043
81 | 80 | 257 | -0.001 | 0.009 | 0.084
82 | 77 | 258 | -0.001 | 0.009 | -0.03
82 | 83 | 259 | -0.001 | 0.009 | -0.326
82 | 96 | 260 | -0.001 | 0.009 | -0.184
83 | 82 | 261 | -0.001 | 0.009 | 0.327
83 | 84 | 262 | -0.001 | 0.009 | -0.192
83 | 85 | 263 | -0.001 | 0.009 | -0.335
84 | 83 | 264 | -0.001 | 0.009 | 0.194
84 | 85 | 265 | -0.001 | 0.009 | -0.315
85 | 83 | 266 | -0.001 | 0.009 | 0.339
85 | 84 | 267 | -0.001 | 0.009 | 0.318
85 | 86 | 268 | -0.001 | 0.009 | 0.179
85 | 88 | 269 | -0.001 | 0.009 | -0.439
85 | 89 | 270 | -0.001 | 0.009 | -0.649
86 | 85 | 271 | -0.001 | 0.009 | -0.178
86 | 87 | 272 | -0.001 | 0.009 | -0.033
87 | 86 | 273 | -0.001 | 0.009 | 0.033
88 | 85 | 274 | -0.001 | 0.009 | 0.443
88 | 89 | 275 | -0.001 | 0.009 | -0.923
89 | 85 | 276 | -0.001 | 0.009 | 0.658
89 | 88 | 277 | -0.001 | 0.009 | 0.934
89 | 90 | 278 | -0.001 | 0.009 | 0.3
89 | 92 | 279 | -0.001 | 0.009 | 1.535
90 | 89 | 280 | -0.001 | 0.009 | -0.295
90 | 91 | 281 | -0.001 | 0.009 | 0.091
91 | 90 | 282 | -0.001 | 0.009 | -0.091
91 | 92 | 283 | -0.001 | 0.009 | 0.09
92 | 89 | 284 | -0.001 | 0.009 | -1.515
92 | 91 | 285 | -0.001 | 0.009 | -0.09
92 | 93 | 286 | -0.001 | 0.009 | 0.47
92 | 94 | 287 | -0.001 | 0.009 | 0.415
92 | 100 | 288 | -0.001 | 0.009 | 0.196
92 | 102 | 289 | -0.001 | 0.009 | 0.339
93 | 92 | 290 | -0.001 | 0.009 | -0.465
93 | 94 | 291 | -0.001 | 0.009 | 0.345
94 | 92 | 292 | -0.001 | 0.009 | -0.407
94 | 93 | 293 | -0.001 | 0.009 | -0.342
94 | 95 | 294 | -0.001 | 0.009 | 0.43
94 | 96 | 295 | -0.001 | 0.009 | 0.222
94 | 100 | 296 | -0.001 | 0.009 | -0.202
95 | 94 | 297 | -0.001 | 0.009 | -0.428
95 | 96 | 298 | -0.001 | 0.009 | 0.008
96 | 80 | 299 | -0.001 | 0.009 | -0.202
96 | 82 | 300 | -0.001 | 0.009 | 0.185
96 | 94 | 301 | -0.001 | 0.009 | -0.22
96 | 95 | 302 | -0.001 | 0.009 | -0.007
96 | 97 | 303 | -0.001 | 0.009 | -0.125
97 | 80 | 304 | -0.001 | 0.009 | -0.275
97 | 96 | 305 | -0.001 | 0.009 | 0.125
98 | 80 | 306 | -0.001 | 0.009 | -0.235
98 | 100 | 307 | -0.001 | 0.009 | -0.105
99 | 80 | 308 | -0.001 | 0.009 | -0.023
99 | 100 | 309 | -0.001 | 0.009 | 0.023
100 | 92 | 310 | -0.001 | 0.009 | -0.194
100 | 94 | 311 | -0.001 | 0.009 | 0.205
100 | 98 | 312 | -0.001 | 0.009 | 0.105
100 | 99 | 313 | -0.001 | 0.009 | -0.023
100 | 101 | 314 | -0.001 | 0.009 | -0.054
100 | 103 | 315 | -0.001 | 0.009 | 0.823
100 | 104 | 316 | -0.001 | 0.009 | 0.433
100 | 106 | 317 | -0.001 | 0.009 | 0.46
101 | 100 | 318 | -0.001 | 0.009 | 0.055
101 | 102 | 319 | -0.001 | 0.009 | -0.275
102 | 92 | 320 | -0.001 | 0.009 | -0.338
102 | 101 | 321 | -0.001 | 0.009 | 0.276
103 | 100 | 322 | -0.001 | 0.009 | -0.813
103 | 104 | 323 | -0.001 | 0.009 | 0.273
103 | 105 | 324 | -0.001 | 0.009 | 0.336
103 | 110 | 325 | -0.001 | 0.009 | 0.339
104 | 100 | 326 | -0.001 | 0.009 | -0.426
104 | 103 | 327 | -0.001 | 0.009 | -0.27
104 | 105 | 328 | -0.001 | 0.009 | 0.317
105 | 103 | 329 | -0.001 | 0.009 | -0.331
105 | 104 | 330 | -0.001 | 0.009 | -0.316
105 | 106 | 331 | -0.001 | 0.009 | 0.106
105 | 107 | 332 | -0.001 | 0.009 | 0.157
105 | 108 | 333 | -0.001 | 0.009 | 0.077
106 | 100 | 334 | -0.001 | 0.009 | -0.448
106 | 105 | 335 | -0.001 | 0.009 | -0.105
106 | 107 | 336 | -0.001 | 0.009 | 0.124
107 | 105 | 337 | -0.001 | 0.009 | -0.156
107 | 106 | 338 | -0.001 | 0.009 | -0.123
108 | 105 | 339 | -0.001 | 0.009 | -0.077
108 | 109 | 340 | -0.001 | 0.009 | 0.046
109 | 108 | 341 | -0.001 | 0.009 | -0.046
109 | 110 | 342 | -0.001 | 0.009 | -0.034
110 | 103 | 343 | -0.001 | 0.009 | -0.335
110 | 109 | 344 | -0.001 | 0.009 | 0.034
110 | 111 | 345 | -0.001 | 0.009 | -0.326
110 | 112 | 346 | -0.001 | 0.009 | 0.249
111 | 110 | 347 | -0.001 | 0.009 | 0.328
112 | 110 | 348 | -0.001 | 0.009 | -0.248
113 | 17 | 349 | -0.001 | 0.009 | 0.001
113 | 32 | 350 | -0.001 | 0.009 | 0.002
114 | 32 | 351 | -0.001 | 0.009 | -0.103
114 | 115 | 352 | -0.001 | 0.009 | 0.023
115 | 27 | 353 | -0.001 | 0.009 | -0.197
115 | 114 | 354 | -0.001 | 0.009 | -0.023
116 | 68 | 355 | -0.001 | 0.009 | 0.004
117 | 12 | 356 | -0.001 | 0.009 | -0.2
118 | 75 | 357 | -0.001 | 0.009 | -0.422
118 | 76 | 358 | -0.001 | 0.009 | 0.092

## 300_Bus
Flow Limit:
Bus# | Real LMP(Matlab) | Real LMP(Powerworld) | Reactive LMP(Matlab) | Reactive LMP(Powerworld) | Generation(Matlab) | Generation(Powerworld) | Gen_Cost(Matlab) | Gen_Cost(Powerworld)

## ERCOT_Grid
Flow Limit:
Bus# | Real LMP(Matlab) | Real LMP(Powerworld) | Reactive LMP(Matlab) | Reactive LMP(Powerworld) | Generation(Matlab) | Generation(Powerworld) | Gen_Cost(Matlab) | Gen_Cost(Powerworld)

## Sheet7
1
2
3
4
5
6
7
8
9
10
11
12
13
14